## Revision Info
Version History
v1.153
MFIO event mode set command is added
Skin Contact State Machine enable/disable command is added
v1.150
Spo2 percentage completed byte's MSB represents Spo2 calculated flag
v1.149
In Data Out algo, for BPT: replaced R_aboveResting with pulse_flag, Added IBI, Added SpO2 Confidence
Add get_cfg bpt spo2_coefs to Algo Config tab
v1.148
Slot PD configuraiton for WHRM and SpO2 and LED Firing Sequence format updated in Algo Configuration
v1.147
Data output format for MAximFast updated
v1.146
Algo Configuration tab: New commands "set_cfg wearablesuite initfsmpoption", "get_cfg wearablesuite initfsmpoption", "set_cfg wearablesuite inittintoption" and "get_cfg wearablesuite inittintoption"
Top Level tab: New Sensor Hub Authentication commands
v1.145
Updated command for reading number of samples in outpt FIFO with two byte value, LSB first to support long poll period >255sec
v1.144
Mode + Status Commands of sensors updated for Host accel underflow
v1.143
In Algo Configuration, the set_cfg wearablesuite ledfiringconfig & get_cfg wearablesuite ledfiringconfig are added
v1.142
In Sensor Configuration, the name of commands to configure KX123 is changed
v1.141
added command to Sensor Configuration to configure KX123
v1.140
added command to change I2C address (0x10,0x03) and shutdown (backup mode in ME11)
v1.139
Single API command to enable multiple sensors (0x44)
v1.138
For Algo Suite library, removed PD configuration for WHRM and SPO2 and replaced them with LEDPD config
v1.137
For Algo Suite library, PD configuration for WHRM and SPO2 added
v1.136
For 0x46, 0x46, Moved <config item idx> to the end of the command and greyed it since it's a future possible addition.
v1.135
Fixed the unit of Min PD Current,Initial PD Current, Target PD Current
in Algo config for Algo Suite from mA to uA
v1.134
Updated the format of Motion Magnitude Threshold in Wearable Algo Suite from .1g to mili-g
v1.133
added Wearable Suite Data Output Format
v1.132
added Max freq sampling and integration time configurations for Wearable Algo Suite
v1.131
Updated a few Algo configurations for Wearable Algo Suite
v1.130.1
Updated timing info of max8614x's sensor get/set info
Index and Algo configuration for Wearable Algo Suite is added
v1.130
Updated WHRM/SPO2 wait time after enable command (0x52)
v1.129
Corrected max8614x op_cfg sensor config
v1.128
Corrected Algorithm index for WHRM
Added Report Period command to CommChannel Family
v1.127
Add set/get sensor configuration on Top level page
Add Sensor Configuration Page
v1.126
Delete AEC as an algo index in the Index definitions tab and algo config tab. Changed Seq1Data to LED1, PD1, ... in Data Output Format Sensors tab
Change 0x52 so that it's <mode enable> or 0 instead of <enable>
Add seconds to 51 05 05, Algo Config
Marked BPT set date/time as not used.
Add pd1pd2 to 51 05 09 Algo Config.
v1.125
Corrected WHRM algorithm data output format (tab "Data Output Format - Algorithms)
Updated algo configuration of BPT and WSpO2 (tab "Algo Configuration)
v1.124
Added WHRM algorithm output format
Corrected WSpO2 and BPT output formats
v1.123
Added mode 2 for MaximFast10.
v1.122
Updated configuration commands for BPT Algorithm
Added LED config to WHRM_AEC-SCD
v1.121
Updated command for external sensor input.
v1.120
Updated mbed Host Terminal commands in Algo Configuration: set_cfg stream ascii [or bin], set_cfg accel_sh 0 [or 1], set_cfg report 1 [or 2]
v1.119
Added mbed Host Terminal command column to Algo Configuration sheet
v1.118
Changed name for SpO2 to WSpO2. Changed MaximFast1 name to MaximFast10.
v1.117
Changed Algo Index 6 from MaximFast to Reserved MaximFast. MaximFast shares the WHRM index.
v1.116
Added write commands for Spo2 calibration coefficients of BPT algorithm ver.5.25.0. Fixed values of Family byte for Write/read commands of WHRM_AES and WSPO2
v1.115
removed configuration combined PD1 and PD2 that averaged them for WHRM, it's no longer supported in Wearable Algo Union ver 1.0.0
v1.114
correcting description of WHRM_AEC_SCD: Motion Magnitude Threshold , Min PD Current.
v1.113
Additional read/write commands for Spo2 and WHRM_AEC_SCD: PD Configuration.
v1.112
Additional read/write commands for Spo2 agctimeout and spo2timeout.
Updated Algo Index 2 to WHRM-MaximFast1/WHRM-AEC-SCD". Same index is used for New WHRM_AEC_SCD and older WHRM
Added read/write commands for WHRM_AEC_SCD configurations: AECEnable, SCDEnable,AdjustPDPeriod,DebounceWindow,MotionThreshold,MinPDCurrent
TODO: Configuration index for WHRM-MaximFast 1 and WHRM_AEC_SCD AEC Enable is the same. Recommended to change.
v1.111
Changed description of Algo Index 2 from WHRM to "WHRM/MaximFast1". Updated Algo Configuration to show which are WHRM and which are MaximFast1
Recommend that In the future, the MaximFast should accept either index 2 or 6.
v1.110
Add SpO2 Coeffiecients to WHRM Algo Configurations
v1.109
Extended sensor mode command to support ext_mode, which describes if sensor data will be provided from host or direct connected sensor to sensor hub.
Removed ExternalSensorMode commands (0x60, 0x61) since sensor mode is extended to cover external sensor data case.
v1.108
Updated input FIFO read/write, and external sensor mode commands.
Updated External sensor input page to add sensor index
v1.107
Additional Spo2 Data Output Format
v1.106
Additional Spo2 read/write commands for Algo Configuration: Sample Rate,Algorithm Mode, AGC Enable ,Motion Detection, Motion Detection Period Motion, Motion Detection Threshold
v1.105
Defined a new Index value for MaximFast. Index values is 6.
v1.104
Updated CMD_DELAY for algo and sensor mode
Updated CMD_DELAY for BPT calibration set
v1.103
Add a dedicated SpO2 index(5) into Index definitions tab
Add SpO2 coeff read/write command
Add example SpO2 calibration
Renamed file name SmartSensorAPI to SensorHubAPI, and replaced all "SmartSensor" words to Sensor-Hub
v1.102
Update communication table in bootloader configuration tab; In EBL set(0x82 0x01 0x01), use 1 byte to set port and pin, instead 2 bytes.
Add DEVICE BUSY flag as bit 6 to status register in Mode + Status Commands.

## Index definitions
Sensor Indicies |  | Algorithm indicies |  | Note
Index | Sensor | Index | Algorithm
0 | MAX86140 | 0 | AGC (Automatic Gain Control)
1 | MAX30205 | 1 | AEC (Automatic Exposure Control)
2 | MAX30001 | 2 | WHRM (Heart Rate Monitor)/MaximFast/WHRM-AEC-SCD)
3 | MAX30101 | 3
4 | Accel | 4 | BPT (Blood Pressure Trending)
7 | AlgoHub | 5 | Wrist SpO2
|  | 6 | Reserved MaximFast | MaximFast is a finger based algorithm, and comes with SpO2, and not needed to enable SpO2 using a separate command.
|  | 7 | Wearable Algor Suite (WHRM+WSPO2)
|  | 7+ | Reserved for future projects
All index parameters (<sensor index>, <algo index>, etc) are variable length arguments.
Values less than 0xFF are a single byte
Values greater than or equal to 0xFF are multiple bytes and calculated by:
Index = <Byte1 = 0xFF> + … + < ByteN-1 = 0xFF> + <ByteN = 0xXX>
For example, an index value of 516 can be sent with:
0xFF, 0xFF, 0x06
The Sensor-Hub will read in bytes of the index until it receives the first non-0xFF byte, at which point it knows it has received the last byte of the index

## Top Level
Data transfer sequence
[6 empty] | I2C: Slave Addr (W/R low) |  |  |  |  | I2C: Stop seq, wait CMD_DELAY ms, send slave addr (W/R high) + 0x03) | [5 empty] | I2C: Stop seq
[6 empty] | SPI: CS and start clocking |  |  |  |  | SPI: Release CS, wait CMD_DELAY ms, then CS and start clocking | [5 empty] | SPI: Release CS
Family Byte | Name | Direction | Access | CMD_DELAY (ms) | Description |  | Family Byte | Command Index | Extra Data 1 | Extra Data 2 |  | Status Byte | Read Byte 1 | Read Byte 2 | Read Byte 3 | Read Byte 4
0x00 | Status | Read | Customer | 2 | Sensor-Hub Status. See Mode + Status Commands page for more information |  | 0x00 | 0x00 |  |  |  | <status> | <value>
0x01 | Mode | Write | Customer | 2 | Sleep/Shutdown/Bootloader. See Mode + Status Commands page for more information |  | 0x01 | 0x00 | <value> |  |  | <status>
0x02 | Mode | Read | Customer | 2 |  |  | 0x02 | 0x00 |  |  |  | <status> | <value>
0x10 | CommChannel | Write | Customer |  | Modify the way that Sensor-Hub and EvKit communicate |  | 0x10
| Output Mode |  |  | 2 | Set output mode (see Data Output Format for more info) |  | 0x10 | 0x00 | <value> |  |  | <status>
| FIFOAlmostFull |  |  | 2 | Set number of samples to collect in FIFO before triggering DATA_RDY_INT interrupt |  | 0x10 | 0x01 | <value> |  |  | <status>
| ReportPeriod |  |  | 2 | Sets the period of reporting in samples, (example: 25 means send report of one sample and skip reporting next 24 samples) |  | 0x10 | 0x02 | <value>
| I2C address |  |  | 2 | change i2c address of ME11 |  | 0x10 | 0x03 | <value>
| sensorhub counter | write | Customer |  | N/A |  | 0x10 | 0x04 | <value>
0x11 | CommChannel | Read | Customer |  |  |  | 0x11
| Output Mode |  |  | 2 | Get output mode (see Data Output Format for more info) |  | 0x11 | 0x00 |  |  |  | <status> | <value>
| FIFOAlmostFull |  |  | 2 | Get number of samples to collect in FIFO before triggering DATA_RDY_INT interrupt |  | 0x11 | 0x01 |  |  |  | <status> | <value>
| ReportPeriod |  |  | 2 | Gets period of reporting in samples ( 1 means report every sample) |  | 0x11 | 0x02
| I2C address |  |  |  | N/A |  | 0x11 | 0x03
| sensorhub counter | read | Customer |  | read incremental counter of sensor hub |  | 0x11 | 0x04
0x12 | OutputFIFOData | Read | Customer |  | For reading samples from the Sensor-Hub |  | 0x12
| Num Samples |  |  | 2 | Get the number of samples available in the FIFO, as a 16 bit value, LSB first |  | 0x12 | 0x00 |  |  |  | <status> | <value>
| Read FIFO Data |  |  | TBD | Read data stored in FIFO. Internal FIFO read pointer increments once <sample size> bytes have been read. |  | 0x12 | 0x01 |  |  |  | <status> | <data>…
0x13 | InputFIFO | Read | Customer |  |  |  | 0x13
| Sensor's sample Size |  |  | TBD | Get the number of bytes per sample, based on ExternalSensorMode settings (see Data Input Format for more info) |  | 0x13 | 0x00 | <sensor index>… |  |  | <status> | <data>…
| Input FIFO Size |  |  | TBD | Get the total number of bytes the Input FIFO can hold |  | 0x13 | 0x01 |  |  |  | <status> | <value_MSB> | <value_LSB>
| Sensor FIFO Size |  |  | TBD | Get the total number of bytes the Sensor's FIFO can hold |  | 0x13 | 0x02 | <sensor index>… |  |  | <status> | <value_MSB> | <value_LSB>
| Num Samples in Sensor's FIFO |  |  | TBD | Get the number of samples currently in the Sensor's FIFO |  | 0x13 | 0x03 | <sensor index>… |  |  | <status> | <value_MSB> | <value_LSB>
| Num Samples in Input FIFO |  |  | TBD | Get the number of samples currently in the input FIFO |  | 0x13 | 0x04 |  |  |  | <status> | <value_MSB> | <value_LSB>
0x14 | InputFIFOData | Write | Customer |  | Write samples to the Sensor-Hub |  | 0x14
| Write FIFO Data |  |  | TBD | Write data to the Sensor-Hub Input FIFO (see Data Input Format for more info) |  | 0x14 | 0x00 | <data>… |  |  | <status>
0x40 | WriteRegMap | Write | Customer |  | Write to bytes within the register map of a sensor |  | 0x40
| Write Sensor <sensor index> |  |  | 2 | Write to the specified register of Sensor <sensor index> |  | 0x40 | <sensor index>… | <register> | <value>… |  | <status>
0x41 | ReadRegMap | Read | Customer |  | Read bytes from the register map of a sensor |  | 0x41
| Read Sensor <sensor index> |  |  | 2 | Read from the specified register of Sensor <sensor index>. <val_size> is the size of the value in bytes. MSB is returned first |  | 0x41 | <sensor index>… | <register> |  |  | <status> | <value>…
0x42 | RegMap Attributes | Read | Customer |  |  |  | 0x42
| Get Attributes |  |  | 2 | <reg_width> is the width of each register in bytes. <num_reg> is the number of registers to be returned by the DumpRegMap command |  | 0x42 | <sensor index>… |  |  |  | <status> | <reg_width> | <num_reg>
0x43 | DumpRegMap | Read | Customer |  | Dump the register map of a sensor |  | 0x43
| Dump Sensor <sensor index> |  |  | TBD | Read all registers from Sensor <sensor index>. Use the DumpRegMap Attributes command to get the number of registers to read and their widths first. Values are returned MSB first. |  | 0x43 | <sensor index>… |  |  |  | <status> | <addr0> | <val0>… | <addr1> | <val1>…
0x44 | SensorMode | Write | Customer |  | Configure the mode of a sensor |  | 0x44
| Sensor <sensor index> Mode |  |  | Default = 20 MAX30101 = 40 | Set sensor <sensor index> to <mode>. CMD_DELAY varies based on sensors. Some sensor may require more or less. <sensor index> value range is 0x00 - 0x7F. <sensor index> - 0x80-0xFE range is reserved. <sensor index> - 0xFF - Enable multiple sensor with Single Command |  | 0x44 | <sensor index>… | <mode> |  |  | <status> | [5 empty] | Note: mode 0 must always be "Stop" mode
| Sensor <sensor index> Mode |  |  | Default = 20 MAX30101 = 40 | Set sensor <sensor index> to <mode>. CMD_DELAY varies based on sensors. Some sensor may require more or less. Use external sensor(ext_mode): 0: Use sensor hub's samples.(Default) 1: Use external samples, from host. |  | 0x44 | <sensor index>… | <mode> | <ext_mode> |  | <status> | [5 empty] | Note: mode 0 must always be "Stop" mode
| 0xFF |  |  | Default = 20 MAX30101 = 40 | Enable multiple sensors with a Single Command Number of sensors parameter defines how many sensors are enabled with Single Command. CMD_DELAY varies based on sensors. Use total CMD_DELAY of all sensor which will be enabled. Some sensor may require more or less. Number of sensors value will be 1-127. If any of the sensors in the list is enabled, it wi Cases: 1 - If any sensors in the list is alrady enabled, it turns off and enables again. 2 - If enabling one of the sensors in the list is failed, sensor hub disables all the sensors in the command list. 3 - If number of sensors field is not valid, it fails without starting sensor enabling. 4 - All sensors in this command list have to be valid in sensor hub, otherwise command will be failed, and sensor hub will disable all the sensors listed in this command. |  | 0x44 | 0xFF | Number of sensors | <sensor 0 index> | Sensor 0 Mode | Sensor 0 ext_mode | <sensor 1 index> | Sensor 1 Mode | Sensor 1 ext_mode | Sensor 2..N for sensor index, mode and ext_mode | <status> | Note: mode 0 must always be "Stop" mode
0x45 | SensorMode | Read | Customer |  |  |  | 0x45
| Sensor <sensor index> Mode |  |  | 2 | Read sensor <sensor index> mode. Response delay time depends on sensor |  | 0x45 | <sensor index>… |  |  |  | <status> | <mode> | <ext_mode>
0x46 | SensorConfig | Write | Customer/Internal |  | Sensor Configuration. See Sensor Config page for more information on each command |  | 0x46
| Sensor<sensor index> config |  |  |  | Configuration for sensor <sensor index>. See sensor configuration page for more detail. |  | 0x46 | <sensor index>… | <data>… | <config item idx> | greyed out for future implementation | <status>
0x47 | SensorConfig | Read | Customer/Internal |  |  |  | 0x47
| Sensor <sensor index> config |  |  | 2 | Configuration for sensor <sensor index>. See sensor configuration page for more detail. |  | 0x47 | <sensor index>… | <config item idx> |  | greyed out for future implementation | <status> | <data>…
0x50 | AlgoConfig | Write | Customer/Internal |  | Algorithm Configuration. See Algo Config page for more information on each command |  | 0x50
| Algo <algo index> config |  |  | DEFAULT = 2 BPT (Set calibration) = 30 | Configuration for algorithm <algo index>. See Algo Configuration page for more detail. |  | 0x50 | <algo index>… | <config item idx> | <data>… |  | <status>
0x51 | AlgoConfig | Read | Customer/Internal |  |  |  | 0x51
| Algo <algo index> config |  |  | 2 | Configuration for algorithm <algo index>. See Algo Configuration page for more detail. |  | 0x51 | <algo index>… | <config item idx> |  |  | <status> | <data>…
0x52 | AlgoMode | Write | Customer |  | Enable or disable an algorithm |  | 0x52
| Algo <algo index> mode |  |  | Default = 20 MaximFast = 40 WHRM/SPO2 WHRM/SPO2=120ms (disable) WHRM/SPO2=120ms (enable) WHRM/SPO2=320ms (enable with DAC CAL) | Enable/Disable algo <algo index>. CMD_DELAY varies based on algorithms. Some algorithms and even their different versions may require more or less delay time. |  | 0x52 | <algo index>… | <enable mode> or 0 for disabled |  |  | <status>
0x53 | AlgoMode | Read | Customer |  |  |  | 0x53
| Algo <algo index> mode |  |  | 2 | Read enable/disable setting of algo <algo index> |  | 0x53 | <algo index>… |  |  |  | <status> | <enabled>
0x70 | SelfTest | Read | Customer |  |  |  | 0x70
| SelfTest |  |  | TBD | Execute a selftest for the sensor indicated by <sensor index>. See definition of return <value> on Mode + Status Commands page |  | 0x70 | <sensor index>… |  |  |  | <status> | <result>
0x80 | Bootloader Flash | Write | Customer |  | See Bootloader page for more information |  | 0x80
| Set IV |  |  | 2 | Set IV bytes needed to decrypt data |  | 0x80 | 0x00 | <iv bytes>… |  |  | <status>
| Set AUTH |  |  | 2 | Set AUTH bytes needed to decrypt data |  | 0x80 | 0x01 | <auth bytes>… |  |  | <status>
| Set Num Pages |  |  | 2 | Set the number of pages of data to be transmitted. Num_pages = 256*<MSB> + <LSB> |  | 0x80 | 0x02 | <MSB> | <LSB> |  | <status>
| Erase |  |  | 2000 | Erase the current application |  | 0x80 | 0x03 |  |  |  | <status>
| Send Page |  |  | 2000 | Send a page of application data. If successful, Sensor-Hub's internal page counter will increment and expect the next page. If unsuccesful, Sensor-Hub will expect the same page to be retransmitted. |  | 0x80 | 0x04 | <page data>… |  |  | <status>
| Erase page memory |  |  |  | Erase the given page number |  | 0x80 | 0x05 | <MSB> | <LSB> |  | <status>
0x81 | Bootloader Info | Read | Customer |  |  |  | 0x81
| Get Firmware Version |  |  | 2 | Get version of bootloader |  | 0x81 | 0x00 |  |  |  | <status> | <major> | <minor> | <patch>
| Get Page Size |  |  | 2 | Get page size of current platform. Page_size = 256*<MSB> + <LSB) |  | 0x81 | 0x01 |  |  |  | <status> | <MSB> | <LSB>
0x82 | Bootloader Config | Write | Customer |  |  |  | 0x82
|  |  |  | TBD | See Bootloader Configurationpage for more information
0x83 | Bootloader Config | Read | Customer |  |  |  | 0x83
|  |  |  | TBD | See Bootloader Configurationpage for more information
0xB2 | Sensor Hub Authentication Sequence | Read | Customer |  |  |  | 0xB2
|  |  |  | TBD | Get authentication sequence from sensorhub. Response includes 12 byte string. Host command: get_cfg sh_auth |  | 0xB2 |  |  |  |  | <status> | <12 bytes data>…
0xB3 | Sensor Hub Authentication Initials | Read | Customer |  |  |  | 0xB3
|  |  |  | TBD | Get authentication initials from sensorhub. Response includes 5 byte string. Host command: get_cfg sh_dhparams |  | 0xB3 |  |  |  |  | <status> | <val1>… | <val2>… | <val3>… | <val4>… | <val5>…
0xB4 | Sensor Hub Public Key | Write | Customer |  |  |  | 0xB4
|  |  |  | TBD | Set Sensor Hub Public Key (12 bytes). Host command: set_cfg sh_dhlpublic <hex val1><hexval2> … <hex val 12> |  | 0xB4 | <12 bytes data> |  |  |  | <status>
0xB5 | Sensor Hub Public Key | Read | Customer |  |  |  | 0xB5
|  |  |  | TBD | Get Sensor Hub Public Key (12 bytes). Host command: get_cfg sh_dhrpublic |  | 0xB5 |  |  |  |  | <status> | <12 bytes data>…
0xFF | Identity | Read | Customer |  | Get ID information |  | 0xFF
| Platform Type |  |  | 2 | Get the type of MCU |  | 0xFF | 0x00 |  |  |  | <status> | <type> |  |  |  |  | 0=ME03, 1=ME11, others reserved
| Reserved |  |  | TBD |  |  | 0xFF | 0x01 |  |  |  | <status>
| Reserved |  |  | TBD |  |  | 0xFF | 0x02 |  |  |  | <status>
| Sensor-Hub Firmware Version |  |  | 2 | Get Firmware Version of Sensor-Hub |  | 0xFF | 0x03 |  |  |  | <status> | <major> | <minor> | <patch>
| Available Sensors |  |  | TBD | Get list of indicies of available sensors |  | 0xFF | 0x04 |  |  |  | <status> | <num available> | <sensor index1>… | <sensor index2>… | <sensor index3>…
| Sensor Driver Firmware Version |  |  | TBD | Get firmware version of selected sensor |  | 0xFF | 0x05 | <sensor index>… |  |  | <status> | <major> | <minor> | <patch>
| Available Algorithms |  |  | TBD | Get list of indicies of available algorithms |  | 0xFF | 0x06 |  |  |  | <status> | <num available> | <algo index1>… | <algo index2>… | <algo index3>…
| Algorithm Version |  |  | TBD | Get version of selected algorithm |  | 0xFF | 0x07 | <algo index>… |  |  | <status> | <major> | <minor> | <patch>
0xFF | Identity | Read | Customer |  |  |  | 0xFF
| Platform Type | [5 empty] | 0xFF | 0x00 |  |  |  | <status> | <type> |  |  |  |  | 0=ME03, 1=ME11, others reserved
| Reserved |  |  | 20 | set sensorhub reporting mode, No event reporting mode where Host polls SensorHub and wakes SensorHub up with mfio pin while sending command bytes MFIO event mode where SensorHub drives mfio pin and Host sets mfio pin as input. SensorHub reports data ready, fifo overflow events with toggling mfio pin. Recommended flow: reset SensorHub. After reset it is in no mfio ie poll mode Host drive mfio pin as output, send event mode command. Host defines mfio pin as input. MFIO mode is not valid for FW update process. in bootloading process mfio pin shall be in control of Host. Host command: set_cfg event_mode |  | 0xB8 | <mfio mode> |  |  |  | <status>
| Reserved |  |  | 2 | enable skin contact state machine (SCDSM) on SensorHub SCDSM must be enabled only in MFIO reporting mode SCDSM enable command must be sent after algo measurement inany WHRM continous mode is started. SCDSM enable status is cleared on each stop of algorithm |  | 0xBC | 0x01 |  |  |  | <status>
| Reserved |  |  | 2 | disable skin contact state machine (SCDSM) on SensorHub |  | 0xBB | 0x00 |  |  |  | <status>
| Sensor-Hub Firmware Version |  |  | 2 | get enable status of skin contact state machine (SCDSM) on SensorHub |  | 0xBD | 0x00 |  |  |  | <status> | <scdsm status>
|  |  |  | 2 | set wavelength to be used by SCD only mode |  | 0xE5 | <LED> |  |  |  | <status>

## Command Protocol
Protocol
Each command has a family byte code associated with it, followed by an index for the specific command
Reading a value and writing a value are separate commands, with a different family byte code
SPI Write | SPI Read |  | I2C Write | I2C Read
Assert CS | Assert CS |  | Send slave address with R/W bit low | Send slave address with R/W bit low
Send family byte, command index, and any necessary data to write | Send family byte and command index |  | Send family byte, command index, and any necessary data to write | Send family byte, command index, and any necessary data to write
Deassert CS | Deassert CS |  | Wait CMD_DELAY ms for data ready | Wait CMD_DELAY ms for data ready
Wait CMD_DELAY ms for data ready | Wait CMD_DELAY ms for data ready |  | Send slave address with R/W bit high | Send slave address with R/W bit high
Assert CS | Assert CS |  | Read status byte | Read status byte + available data
Read status byte | Read status byte + available data
Deassert CS | Deassert CS |  | I2C 8-bit Slave Address = 0x55
Status Byte
Value | Result | Meaning
0x00 | SUCCESS | Success
0x01 | ERR_COMMAND | Tried to use a family/command byte which doesn't exist
0x02 | ERR_UNAVAILABLE | Tried to enable an algorithm which isn't present, or tried to read register of sensor that isn't present
0x03 | ERR_DATA_FORMAT | Incorrect number of bytes sent for the requested command
0x04 | ERR_INPUT_VALUE | Tried to set a configuration value that is not allowed
0x80 | ERR_BTLDR_GENERAL | General error while receiving/flashing page
0x81 | ERR_BTLDR_CHECKSUM | Checksum error while decrypting/checking page data
0x82 | ERR_BTLDR_MORE_DATA | Indicates that the bootloader has not yet received a full page of data from the Send Page command
0xFF | ERR_UNKNOWN | Unknown Error

## Mode + Status Commands
SensorHub Status | [7 empty] | Sensor-Hub Mode
Status of the SensorHub can be read back using family byte 0x00 | [7 empty] | Mode of the Sensor-Hub can be written to or read back using family bytes 0x01 and 0x02, respectively
Bit 7 | Bit 6 | Bit 5 | Bit 4 | Bit 3 | Bit 2 | Bit 1 | Bit 0 | Bit 7 | Bit 6 | Bit 5 | Bit 4 | Bit 3 | Bit 2 | Bit 1 | Bit 0
Reserved | HOST_ACCEL_UNDER_INT | FIFO_IN_OVR_INT | FIFO_OUT_OVR_INT | DATA_RDY_INT | ERR [2:0] | [6 empty] | BOOTLDR | FIFORESET | RESET | SHDN
ERR[2:0] | b'000 | No Error | [5 empty] | SHDN | Set this bit to place the device in shutdown/power save mode
| b'001 | Sensor Communication Problem
| b'010 | Reserved | [5 empty] | RESET | Set this bit to restore device to POR settings. Self-clearing
| b'011 | Reserved
| b'100 | Reserved | [5 empty] | FIFORESET | Set this bit to clear all Input and Output FIFO data. Self-clearing
| b'101 | Reserved | [6 empty] | Note: The Input and Output FIFOs are automatically flushed whenever there
| b'110 | Reserved | [6 empty] | is a mode change (SensorMode, AlgoMode, ExternalSensorMode, or OutputMode)
| b'111 | Reserved
[8 empty] | BOOTLDR | Set this bit to enter bootloader mode.
Clear this bit to return to normal mode.
DATA_RDY_INT | b'0 | No new data ready to be read from FIFO
| b'1 | FIFO has at least the number of samples specified by FIFOAlmostFull settings
FIFO_OUT_OVR_INT | b'0 | No FIFO overflow
| b'1 | Sensor-Hub Output FIFO overflowed and some data was lost
FIFO_IN_OVR_INT | b'0 | No FIFO overflow
| b'1 | Sensor-Hub Input FIFO overflowed and some data was lost
HOST_ACCEL_UNDER_INT | b'0 | No underflow
| b'1 | Host accel data feeding (if enabled) is slow causing underflow in sensor que
Selftest Result
The 0x70 selftest command will test the sensor indicated by <sensor idx>. The <result> value can be interpreted below.
Bit 7 | Bit 6 | Bit 5 | Bit 4 | Bit 3 | Bit 2 | Bit 1 | Bit 0
Reserved | [5 empty] | Interrupt Failure | Comm Failure

## Sensor Configuration
Sensor | Configuration Item | Direction | Access | Description | CMD_DELAY (ms) | mbed Host Terminal command | Family Byte | <sensor index> | <config item index> | <write/read data>…
max8614x | Max8614x Operating configurations | Write | Customer | Set which register settings will be used to initialize max8614x. Value = 0 (default in firmware), value = 0, Use firmware default register setttings value = 1, Use firmware default register setttings dac_calib = 0, firmware_default=0 => Do not use firmware default register settings, and do not run DAC calibration, when algo/sensor is enabled. Sensor hub doesn’t overwrite user settings when algo/sensor is enabled. If user doesn’t disable AEC, then Sample rate, Pulse Interval and LED current will be managed by algorithm. AEC disable is the separate command. Ignores ppg_cfg1 value. dac_calib = 1, firmware_default=0 => Immediately runs DAC calibration using ppg_cfg1 value, and waits for user settings to directly write user register values to MAX8614x. This mode doesn’t use firmware default. Algorithm no longer run calibration again, since it was run when command is received. Only this mode immediately runs calibration. Uses ppg_cfg1 value. dac_calib = 0, firmware_default=1 => Use firmware default register settings, and disable DAC calibration. As soon as algorithm is run, it uses firmware defaults, but do not run DAC calibration. Ignores ppg_cfg1 value. dac_calib = 1, firmware_default=1 (Default case) => Use firmware default register settings, and run DAC calibration when algo/sensor is enabled. Ignores ppg_cfg1 value and uses firmware default ppg_cfg1. On every stop of algorithm/sensor, the settings are switched to default case, firmware_default=1, dac_calib = 1. It needs to reconfigured again. value1 = [ rfu=000000, dac_calib(bit:1), firmware_default(bit:0) ], value2 = [ppg_config1] 03 -- Use firmware default and run Dac calib 02 -- Do not use firmware default, but run Dac calib. This rund DAC Calib immediately 01 -- Use firmware default but do not run Dac calib 00 -- Do not use firmware default and do not run Dac calib | Configuration for (firmware_default=0, dac_calib = 1) - OS58: 220ms - OB12: 220ms-TBD ms Default_delay = 2ms ( for rest of the configurations) | set_cfg max8614x op_cfg <values> <value> is 2 bytes Example Commands: set_cfg max8614x op_cfg 003F // dac_calib = 0, firmware_default=0 set_cfg max8614x op_cfg 013F // dac_calib = 0, firmware_default=1 set_cfg max8614x op_cfg 023F // dac_calib = 1, firmware_default=0 set_cfg max8614x op_cfg 033F // dac_calib = 1, firmware_default=1 | 0x46 | 0x00 | 0x00 | <value1> | <value2>
max8614x | Max8614x Operating configurations | Read | Customer | Read operating config, ppg_cfg1 value and DAC Calib result value1 = [ rfu=000000, dac_calib(bit:1), firmware_default(bit:0) ], value2 = [ppg_config1], value3=<DAC CAL regsister value> | default_delay = 2ms | get_cfg max8614x op_cfg Example reading: get_cfg max8614x op_cfg get_cfg max8614x op_cfg value=033F50 err=0 | 0x47 | 0x00 | 0x00 | <value1> | <value2> | <value3>
kx123 | kx123 Operating configurations | Write | Customer | Set kx123 operation, WUFC for desired delay time and ATH for wake-up threshold <value 1> kx123 operation: 0 -> SAMPLE_BUFFER : Default kx123 operation, acceleration data are read from Buffer 1 -> WAKE_UP : When motion is detected, wake-up interrupt is triggered and acceleration data can be read from buffer <value 2> Wake_Up function Counter (WUFC): To set the time in which motion must be present before a wake-up interrupt. WUFC (counts) = Desired Delay Time (sec) x 25 Hz Example: Write 0x05 to <value 2> to set the 0.2 sec time in which motion must be present before a wake-up interrupt. WUFC (counts) = 0.2 sec x 25 Hz = 5 counts <value 3> Wake_Up Threshold counts (ATH) ATH (counts) = Desired threshold (g) x 16 (counts/g) Example: Write 0.08 to <value 3> to set threshold level to 0.5g WUFC (counts) = 0.5 g x 16 counts/g = 8 counts Note: <value2> and <value 3> has only meaning when kx123 is in WAKE_UP operation |  | set_cfg hubaccel op_cfg <value1><value2><value3> <value> is 1 byte Example Commands: set_cfg hubaccel op_cfg 00 FF FF // kx123_op = SAMPLE_BUFFER, wufc = N/A, ATH = N/A set_cfg hubaccel op_cfg 01 05 08 // kx123_op = WAKE_UP, wufc = 5 (desired delay time is 0.2sec), ATH = 8 (wake-up threshold is 0.5g) | 0x46 | 0x04 | 0x00 | <value1> | <value2> | <value3>
kx123 | kx123 Operating configurations | Read | Customer | Get kx123 operation, WUFC for desired delay time and ATH for wake-up threshold <value 1> kx123 operation: 0 -> SAMPLE_BUFFER 1 -> WAKE_UP <value 2> Wake_Up function Counter (WUFC) WUFC (counts) = Desired Delay Time (sec) x 25 Hz <value 3> Wake_Up Threshold counts (ATH) ATH (counts) = Desired threshold (g) x 16 (counts/g) Note: <value2> and <value 3> has only meaning when kx123 is in WAKE_UP operation <value2> and <value 3> are FF (N/A) when kx123 is in SAMPLE_BUFFER operation |  | get_cfg hubaccel op_cfg Example reading: get_cfg hubaccel op_cfg get_cfg hubaccel op_cfg value=00FFFF err=0 get_cfg hubaccel op_cfg get_cfg hubaccel op_cfg value=010508 err=0 | 0x47 | 0x04 | 0x00 | <value1> | <value2> | <value3>

## Algo Configuration
Data Format
Algorithm | Configuration Item | Direction | Access | Description | Data notes | mbed Host Terminal command | Family Byte | <algo index> | <config item index> | <write/read data>…
N/A |  |  |  | Set mbed Host Terminal streaming to binary mode (default) |  | set_cfg stream bin
|  |  |  | Set mbed Host Terminal streaming to ascii mode |  | set_cfg stream ascii
|  |  |  | set accelerometer to host (default) or sensorhub |  | set_cfg accel_sh <value> (value=0: host accel, 1: sensorhub accel)
|  |  |  | Set report mode of streaming (only ASCII) to 1(default) or 2 |  | set_cfg report <value> (value=1 default brief, 2:expanded)
|  |  |  | change i2c address of ME11 |  | set_cfg i2c_addr <value> (value=0xAA default)
|  |  |  | change sensor hub mode to shutdown |  | set_cfg sh_mode <value> (value=1: Shutdown)
|  |  |  | get sensorhub inccremental 32-bit counter value |  | get_cfg sh_counter
|  |  |  | stops the algorithm and all sensors |  | stop
|  |  |  | stops all sensors |  | stop_sensors
AGC
| Target Percentage of Full Range | Write | Customer | Set the target percentage of full scale range which the AGC algorithm will attempt to hit. Value of 30 will set the target to 30% of full scale ADC range. | <value> can range between 0x00 and 0x64 (0-100%) |  | 0x50 | 0x00 | 0x00 | <value>
| Target Percentage of Full Range | Read | Customer | Get the target percentage of full scale range which the AGC algorithm will attempt to hit | <value> can range between 0x00 and 0x64 (0-100%) |  | 0x51 | 0x00 | 0x00 | <value>
| Correction Coefficient | Write | Customer | Set the size of the step toward the target. Coefficient of 50 will result in stepping 50% of the calculated distance toward the target. | <value> can range between 0x00 and 0x64 (0-100%) |  | 0x50 | 0x00 | 0x01 | <value>
| Correction Coefficient | Read | Customer | Get the size of the step toward the target | <value> can range between 0x00 and 0x64 (0-100%) |  | 0x51 | 0x00 | 0x01 | <value>
| Sensitivity | Write | Customer | Set the range around the target which the AGC algorithm will attempt to stay within. Sensitivity value of 10 and target of 30 will result in a target range of 20-40% of full scale ADC range | <value> can range between 0x00 and 0x64 (0-100%) |  | 0x50 | 0x00 | 0x02 | <value>
| Sensitivity | Read | Customer | Get the sensitivity | <value> can range between 0x00 and 0x64 (0-100%) |  | 0x51 | 0x00 | 0x02 | <value>
| Sample Averaging | Write | Customer | Set the number of samples to average when determining next step size. Also sets how often a correction is made. | <value> can range between 0x00 and 0xFF (0-255) |  | 0x50 | 0x00 | 0x03 | <value>
| Sample Averaging | Read | Customer | Get the number of samples to average. | <value> can range between 0x00 and 0xFF (0-255) |  | 0x51 | 0x00 | 0x03 | <value>
AEC | [7 empty] | 0x01
TBD
WHRM |  |  |  | Note: Changing these paramters will likely cause a reset of the currently running WHRM instance |  |  |  | 0x02
WHRM | Sample Rate | Write | Customer | Set the sample rate at which the WHRM algorithm expects data to be collected | Sample rate will be set to 256*<value_MSB>+<value_LSB>. Only certain values are allowed (i.e. 100Hz). For a full list of allowed values please see the provided WHRM documentation |  | 0x50 | 0x02 | 0x00 | <value_MSB> | <value_LSB>
WHRM | Sample Rate | Read | Customer | Get the sample rate at which the WHRM algorithm expects data to be collected | Sample rate = 256*<value_MSB>+<value_LSB> |  | 0x51 | 0x02 | 0x00 | <value_MSB> | <value_LSB>
WHRM | Max Person Height | Write | Customer | Set the maximum allowed height (in cm) | Height = 256*<value_MSB>+<value_LSB> cm |  | 0x50 | 0x02 | 0x01 | <value_MSB> | <value_LSB>
WHRM | Max Person Height | Read | Customer | Get the maximum allowed height (in cm) | Height = 256*<value_MSB>+<value_LSB> cm |  | 0x51 | 0x02 | 0x01 | <value_MSB> | <value_LSB>
WHRM | Max Person Weight | Write | Customer | Set the maximum allowed weight (in kg) | Weight = 256*<value_MSB>+<value_LSB> kg |  | 0x50 | 0x02 | 0x02 | <value_MSB> | <value_LSB>
WHRM | Max Person Weight | Read | Customer | Get the maximum allowed weight (in kg) | Weight = 256*<value_MSB>+<value_LSB> kg |  | 0x51 | 0x02 | 0x02 | <value_MSB> | <value_LSB>
WHRM | Max Person Age | Write | Customer | Set the maximum allowed age (in years) | Age = <value> years |  | 0x50 | 0x02 | 0x03 | <value>
WHRM | Max Person Age | Read | Customer | Get the maximum allowed age (in years) | Age = <value> years |  | 0x51 | 0x02 | 0x03 | <value>
WHRM | Min Person Height | Write | Customer | Set the minimum allowed height (in cm) | Height = 256*<value_MSB>+<value_LSB> cm |  | 0x50 | 0x02 | 0x04 | <value_MSB> | <value_LSB>
WHRM | Min Person Height | Read | Customer | Get the minimum allowed height (in cm) | Height = 256*<value_MSB>+<value_LSB> cm |  | 0x51 | 0x02 | 0x04 | <value_MSB> | <value_LSB>
WHRM | Min Person Weight | Write | Customer | Set the minimum allowed weight (in kg) | Weight = 256*<value_MSB>+<value_LSB> kg |  | 0x50 | 0x02 | 0x05 | <value_MSB> | <value_LSB>
WHRM | Min Person Weight | Read | Customer | Get the minimum allowed weight (in kg) | Weight = 256*<value_MSB>+<value_LSB> kg |  | 0x51 | 0x02 | 0x05 | <value_MSB> | <value_LSB>
WHRM | Min Person Age | Write | Customer | Set the minimum allowed age (in years) | Age = <value> years |  | 0x50 | 0x02 | 0x06 | <value>
WHRM | Min Person Age | Read | Customer | Get the minimum allowed age (in years) | Age = <value> years |  | 0x51 | 0x02 | 0x06 | <value>
WHRM | Default Person Height | Write | Customer | Set the default height (in cm) | Height = 256*<value_MSB>+<value_LSB> cm |  | 0x50 | 0x02 | 0x07 | <value_MSB> | <value_LSB>
WHRM | Default Person Height | Read | Customer | Get the default height (in cm) | Height = 256*<value_MSB>+<value_LSB> cm |  | 0x51 | 0x02 | 0x07 | <value_MSB> | <value_LSB>
WHRM | Default Person Weight | Write | Customer | Set the default weight (in kg) | Weight = 256*<value_MSB>+<value_LSB> kg |  | 0x50 | 0x02 | 0x08 | <value_MSB> | <value_LSB>
WHRM | Default Person Weight | Read | Customer | Get the default weight (in kg) | Weight = 256*<value_MSB>+<value_LSB> kg |  | 0x51 | 0x02 | 0x08 | <value_MSB> | <value_LSB>
WHRM | Default Person Age | Write | Customer | Set the default age (in years) | Age = <value> years |  | 0x50 | 0x02 | 0x09 | <value>
WHRM | Default Person Age | Read | Customer | Get the default age (in years) | Age = <value> years |  | 0x51 | 0x02 | 0x09 | <value>
WHRM | Initial HR | Write | Internal | Set the initial HR value | May speed up tracking of previous HR estimation after re-initialiation. Not releated to user flow. |  | 0x50 | 0x02 | 0x0A | <value_MSB> | <value_LSB>
WHRM | Initial HR | Read | Internal | Get the initial HR value | Weight = 0.1*<value_MSB>+<value_LSB> kg |  | 0x51 | 0x02 | 0x0A | <value_MSB> | <value_LSB>
| Keep Alive | Write | Internal | Set the number of samples for which WHRM will continue to report the last calculated HR value when it can't calculate a new HR value | Samples = 256*<value_MSB>+<value_LSB> |  | 0x50 | 0x02 | 0x0B | <value_MSB> | <value_LSB>
| Keep Alive | Read | Internal | Get the number of samples for which WHRM will continue to report the last calculated HR value when it can't calculate a new HR value | Samples = 256*<value_MSB>+<value_LSB> |  | 0x51 | 0x02 | 0x0B | <value_MSB> | <value_LSB>
MaximFast10 | SpO2 Calibration Coefficients | Read | Customer | Get SpO2 coeff values(signed 32-bit int equal to 10^5 x measured float calibration coef) | Coefficients A=[value1 ¦ value2 ¦ value3 ¦ value4], B=value[5..8] C=[9..12] |  | 0x51 | 0x02 | 0x0B | <value1> | <value2> | <value3> | <value4> | <value5> | <value6> | <value7> | <value8> | <value9> | <value10> | <value11> | <value12>
MaximFast10 | SpO2 Calibration Coefficients | Write | Customer | Set SpO2 coeff values(signed 32-bit int equal to 10^5 x measured float calibration coef) | Coefficients A=[value1 ¦ value2 ¦ value3 ¦ value4], B=value[5..8] C=[9..12] |  | 0x50 | 0x02 | 0X0B | <value1> | <value2> | <value3> | <value4> | <value5> | <value6> | <value7> | <value8> | <value9> | <value10> | <value11> | <value12>
WHRM_AEC_SCD | AEC Algorithm Enable | Read | Customer | Get AEC Mode (Enable=1 or Disable=0) |  | get_cfg whrmaecscd aecenable | 0x51 0x51 0x50: 0x51; 0x02 0x02 0x02: 0x02; 0x0B 0x0B 0X0B: 0X0B; <value_MSB> <value1> <value1>: <value>
WHRM_AEC_SCD | AEC Algorithm Enable | Write | Customer | Set AEC Mode (Enable=1 or Disable=0) |  | set_cfg whrmaecscd aecenable <value> | 0x51 0x51 0x50: 0x50; 0x02 0x02 0x02: 0x02; 0x0B 0x0B 0X0B: 0X0B; <value_MSB> <value1> <value1>: <value>
WHRM_AEC_SCD | SCD Algorithm Enable | Read | Customer | Get SCD Mode (Enable=1 or Disable=0) |  | get_cfg whrmaecscd scdenable | 0x51 0x51 0x50: 0x51; 0x02 0x02 0x02: 0x02; 0x0B 0x0B 0X0B: 0X0C; <value_MSB> <value1> <value1>: <value>
WHRM_AEC_SCD | SCD Algorithm Enable | Write | Customer | Set SCD Mode (Enable=1 or Disable=0) |  | set_cfg whrmaecscd scdenable <value> | 0x51 0x51 0x50: 0x50; 0x02 0x02 0x02: 0x02; 0x0B 0x0B 0X0B: 0X0C; <value_MSB> <value1> <value1>: <value>
WHRM_AEC_SCD | Adjust Target PD Current Period | Read | Customer | Get the period to update the target PD current with the AEC formula (second) | unsigned 16-bit int | get_cfg whrmaecscd adjpdperiod | 0x51 0x51 0x50: 0x51; 0x02 0x02 0x02: 0x02; 0x0B 0x0B 0X0B: 0X0D; <value_MSB> <value1> <value1>: <value_MSB>; <value_LSB> <value2> <value2>: <value_LSB>
WHRM_AEC_SCD | Adjust Target PD Current Period | Write | Customer | Set the period to update the target PD current with the AEC formula (second) | unsigned 16-bit int | set_cfg whrmaecscd adjpdperiod <value> (value in hex) | 0x51 0x51 0x50: 0x50; 0x02 0x02 0x02: 0x02; 0x0B 0x0B 0X0B: 0X0D; <value_MSB> <value1> <value1>: <value_MSB>; <value_LSB> <value2> <value2>: <value_LSB>
WHRM_AEC_SCD | SCD Debounce Window | Read | Customer | Get the necessary number of consecutive results of skin contact status to be reflected in the final output | unsigned 16-bit int | get_cfg whrmaecscd debouncewin | 0x51 0x51 0x50: 0x51; 0x02 0x02 0x02: 0x02; 0x0B 0x0B 0X0B: 0X0E; <value_MSB> <value1> <value1>: <value_MSB>; <value_LSB> <value2> <value2>: <value_LSB>
WHRM_AEC_SCD | SCD Debounce Window | Write | Customer | Set the necessary number of consecutive results of skin contact status to be reflected in the final output | unsigned 16-bit int | set_cfg whrmaecscd debouncewin <value> (value in hex) | 0x51 0x51 0x50: 0x50; 0x02 0x02 0x02: 0x02; 0x0B 0x0B 0X0B: 0X0E; <value_MSB> <value1> <value1>: <value_MSB>; <value_LSB> <value2> <value2>: <value_LSB>
WHRM_AEC_SCD | Motion Magnitude Threshold | Read | Customer | Get the motion magnitude threshold for Motion Detector [in 0.1g] | unsigned 16-bit int | get_cfg whrmaecscd motionthreshold | 0x51 0x51 0x50: 0x51; 0x02 0x02 0x02: 0x02; 0x0B 0x0B 0X0B: 0X0F; <value_MSB> <value1> <value1>: <value_MSB>; <value_LSB> <value2> <value2>: <value_LSB>
WHRM_AEC_SCD | Motion Magnitude Threshold | Write | Customer | Set the motion magnitude threshold for Motion Detector [in 0.1g] | unsigned 16-bit int | set_cfg whrmaecscd motionthreshold <value> (value in hex) | 0x51 0x51 0x50: 0x50; 0x02 0x02 0x02: 0x02; 0x0B 0x0B 0X0B: 0X0F; <value_MSB> <value1> <value1>: <value_MSB>; <value_LSB> <value2> <value2>: <value_LSB>
WHRM_AEC_SCD | Min PD Current | Read | Customer | Get the minimum PD current (in 0.1mA) | unsigned 16-bit int | get_cfg whrmaecscd minpdcurrent | 0x51 0x51 0x50: 0x51; 0x02 0x02 0x02: 0x02; 0x0B 0x0B 0X0B: 0X10; <value_MSB> <value1> <value1>: <value_MSB>; <value_LSB> <value2> <value2>: <value_LSB>
WHRM_AEC_SCD | Min PD Current | Write | Customer | Set the minimum PD current (in 0.1mA) | unsigned 16-bit int | set_cfg whrmaecscd minpdcurrent <value> (value in hex) | 0x51 0x51 0x50: 0x50; 0x02 0x02 0x02: 0x02; 0x0B 0x0B 0X0B: 0X10; <value_MSB> <value1> <value1>: <value_MSB>; <value_LSB> <value2> <value2>: <value_LSB>
WHRM_AEC_SCD | PD Configuration | Read | Customer | Get PD configuration(source of PPG signal) | 1: PD1, 2:PD2, 3:Both PD1&2 | get_cfg whrmaecscd pdconfig | 0x51 0x51 0x50: 0x51; 0x02 0x02 0x02: 0x02; 0x0B 0x0B 0X0B: 0x11; <value_MSB> <value1> <value1>: <value>
WHRM_AEC_SCD | PD Configuration | Write | Customer | Set PD Configuration(source of PPG signal) | 1: PD1, 2:PD2, 3:Both PD1&2 | set_cfg whrmaecscd pdconfig <value> | 0x51 0x51 0x50: 0x50; 0x02 0x02 0x02: 0x02; 0x0B 0x0B 0X0B: 0x11; <value_MSB> <value1> <value1>: <value>
WHRM_AEC_SCD | LED Configuration | Read | Customer | Get PD configuration(source of PPG signal) | 1: LED1, 2:LED2, 3:LED3 | get_cfg whrmaecscd ledconfig | 0x51 0x51 0x50: 0x51; 0x02 0x02 0x02: 0x02; 0x0B 0x0B 0X0B: 0x12; <value_MSB> <value1> <value1>: <value>
WHRM_AEC_SCD | LED Configuration | Write | Customer | Set PD Configuration(source of PPG signal) | 1: LED1, 2:LED2, 3:LED3 | set_cfg whrmaecscd ledconfig <value> | 0x51 0x51 0x50: 0x50; 0x02 0x02 0x02: 0x02; 0x0B 0x0B 0X0B: 0x12; <value_MSB> <value1> <value1>: <value>
ECG
TBD | bar: 0x0B 0x0B 0X0B to <value_LSB> <value9> <value9>
BPT
| Uses BP Medicine | Write | Customer | Set whether the user is on Blood Pressure Medication | Set 1 if on BP med, 0 if not on BP med | set_cfg bpt med <value> | 0x51 0x51 0x50: 0x50; 0x02 0x02 0x02: 0x04; 0x0B 0x0B 0X0B: 0x00; <value_MSB> <value1> <value1>: <value>
| Systolic BP Cal | Write | Customer | Set three systolic BP values needed by calibration |  | set_cfg bpt sys_bp <value1> <value2> <value3> | 0x51 0x51 0x50: 0x50; 0x02 0x02 0x02: 0x04; 0x0B 0x0B 0X0B: 0x01; <value_MSB> <value1> <value1>: <value1>; <value_LSB> <value2> <value2>: <value2>; <value_LSB> <value3> <value3>: <value3>
| Diastolic BP Cal | Write | Customer | Set three diastolic BP values needed by calibration |  | set_cfg bpt dia_bp <value1> <value2> <value3> | 0x51 0x51 0x50: 0x50; 0x02 0x02 0x02: 0x04; 0x0B 0x0B 0X0B: 0x02; <value_MSB> <value1> <value1>: <value1>; <value_LSB> <value2> <value2>: <value2>; <value_LSB> <value3> <value3>: <value3>
| Calibration Data | Read | Customer | Get the results of the calibration proceedure | Note: use this data in the below command before running estimation mode. 824 bytes in length | get_cfg bpt cal_result | 0x51 0x51 0x50: 0x51; 0x02 0x02 0x02: 0x04; 0x0B 0x0B 0X0B: 0x03; <value_MSB> <value1> <value1>: <cal data>…
| Calibration Data | Write | Customer | Calibrate the estimation algo using the result of the calibration proceedure | Note: use the data returned from the above command | set_cfg bpt cal_result <values 1-824> | 0x51 0x51 0x50: 0x50; 0x02 0x02 0x02: 0x04; 0x0B 0x0B 0X0B: 0x03; <value_MSB> <value1> <value1>: <cal data>…
| Estimation Date and time | Write | Customer | Current date: <yy> <mm> <dd> and time:<hh> <mm> <ss> | two unsigned 32-bit values for data and time in litthe endian | set_cfg bpt date <value1> <value2> | 0x50 | 0x04 | 0x04 | <date_LSB> | <date_2ndLSB> | <date_3rdLSB> | <date_MSB> | <time_LSB> | <time_2ndLSB> | <time_3rdLSB> | <time_MSB>
| Non-resting Estimation | Write | Customer | Set whether the user is not currently resting | Set 0 of the user is resting, 1 if the user is not resting | set_cfg bpt nonrest <value> | 0x51 0x51 0x50: 0x50; 0x02 0x02 0x02: 0x04; 0x0B 0x0B 0X0B: 0x05; <value_MSB> <value1> <value1>: <value>
| Non-resting Estimation | Read | Customer
[10 empty] | C |  |  |  | B |  |  |  | A
| SpO2 Calibration Coefficients | Read | Customer | Get SpO2 coeff values(signed 32-bit int equal to 10^5 x measured float calibration coefficient) | get_cfg bpt spo2_coefs value=00026F60 FFCB1D12 00ABF37B err=0 | get_cfg bpt spo2_coef | 0x51 0x51 0x50: 0x51; 0x02 0x02 0x02: 0x04; 0x0B 0x0B 0X0B: 0x06
| SpO2 Calibration Coefficients | Write | Customer | Set SpO2 coeff values(signed 32-bit int equal to 10^5 x measured float calibration coefficient) | Coefficients A=[value1 ¦ value2 ¦ value3 ¦ value4], B=value[5..8] C=value[9..12] | set_cfg bpt spo2_coefs <value=A> <value=B> <value=C> (all values in hex) set_cfg bpt spo2_coefs 00026f60 ffcb1d12 00abf37b | 0x50 | 0x04 | 0x06 | <value1> | <value2> | <value3> | <value4> | <value5> | <value6> | <value7> | <value8> | <value9> | <value10> | <value11> | <value12>
value1: MSB in 4 byte signed int, value4: LSB in 4 byte signed int
WSpO2
[10 empty] | A |  |  |  | B |  |  |  | C
| SpO2 Calibration Coefficients | Read | Customer | Get SpO2 coeff values(signed 32-bit int equal to 10^5 x measured float calibration coefficient) | Coefficients A=[value1 ¦ value2 ¦ value3 ¦ value4], B=value[5..8] C=value[9..12] | get_cfg spo2 cal | 0x51 | 0x05 | 0x00 | <value1> | <value2> | <value3> | <value4> | <value5> | <value6> | <value7> | <value8> | <value9> | <value10> | <value11> | <value12>
| SpO2 Calibration Coefficients | Write | Customer | Set SpO2 coeff values(signed 32-bit int equal to 10^5 x measured float calibration coefficient) | Coefficients A=[value1 ¦ value2 ¦ value3 ¦ value4], B=value[5..8] C=value[9..12] | set_cfg spo2 cal <value=A> <value=B> <value=C> (all values in hex) | 0x50 | 0x05 | 0x00 | <value1> | <value2> | <value3> | <value4> | <value5> | <value6> | <value7> | <value8> | <value9> | <value10> | <value11> | <value12>
value1: MSB in 4 byte signed int, value4: LSB in 4 byte signed int
| Sample Rate | Read | Customer | Get Sample Rate (25Hz=1, 100Hz=0) |  | get_cfg spo2 samplerate | 0x51 0x50: 0x51; 0x05 0x05: 0x05; 0x00 0x00: 0x01; A <value1> <value1>: <value>
| Sample Rate | Write | Customer | Set Sample Rate (25Hz=1, 100Hz=0) |  | set_cfg spo2 samplerate <value> | 0x51 0x50: 0x50; 0x05 0x05: 0x05; 0x00 0x00: 0x01; A <value1> <value1>: <value>
| Algorithm Mode | Read | Customer | Get Algorithm Mode (Continuous=0, One-shot =1, Calibration=2) |  | get_cfg spo2 algomode | 0x51 0x50: 0x51; 0x05 0x05: 0x05; 0x00 0x00: 0x02; A <value1> <value1>: <value>
| Algorithm Mode | Write | Customer | Set Algorithm Mode (Continuous=0, One-shot =1, Calibration=2) |  | set_cfg spo2 algomode <value> | 0x51 0x50: 0x50; 0x05 0x05: 0x05; 0x00 0x00: 0x02; A <value1> <value1>: <value>
| AGC Enable | Read | Customer | Get AGC Mode (Enable=1 or Disable=0) |  | get_cfg spo2 agcenable | 0x51 0x50: 0x51; 0x05 0x05: 0x05; 0x00 0x00: 0x03; A <value1> <value1>: <value>
| AGC Enable | Write | Customer | Set AGC Mode (Enable=1 or Disable=0) |  | set_cfg spo2 agcenable <value> | 0x51 0x50: 0x50; 0x05 0x05: 0x05; 0x00 0x00: 0x03; A <value1> <value1>: <value>
| Motion Detection Enable | Read | Customer | Get Motion Detection (Enable=1 or Disable=0) |  | get_cfg spo2 motionenable | 0x51 0x50: 0x51; 0x05 0x05: 0x05; 0x00 0x00: 0x04; A <value1> <value1>: <value>
| Motion Detection Enable | Write | Customer | Set Motion Detection (Enable=1 or Disable=0) |  | set_cfg spo2 motionenable <value> | 0x51 0x50: 0x50; 0x05 0x05: 0x05; 0x00 0x00: 0x04; A <value1> <value1>: <value>
| Motion Detection Period | Read | Customer | Get Motion Detection Period (unsigned 16-bit int), Seconds |  | get_cfg spo2 motionperiod | 0x51 0x50: 0x51; 0x05 0x05: 0x05; 0x00 0x00: 0x05; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| Motion Detection Period | Write | Customer | Set Motion Detection Period (unsigned 16-bit int), Seconds |  | set_cfg spo2 motionperiod <value> (value in hex) | 0x51 0x50: 0x50; 0x05 0x05: 0x05; 0x00 0x00: 0x05; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| Motion Detection Threshold | Read | Customer | Get Motion Detection Threshold (signed 32-bit int, equal to 10^5x actual float threshold value) | value1: MSB in 4 byte signed int, value4: LSB in 4 byte signed int | get_cfg spo2 motionthreshold | 0x51 0x50: 0x51; 0x05 0x05: 0x05; 0x00 0x00: 0x06; A <value1> <value1>: <value1 -MSB>; A <value2> <value2>: <value2>; A <value3> <value3>: <value3>; A <value4> <value4>: <value4-LSB>
| Motion Detection Threshold | Write | Customer | Get Motion Detection Threshold(signed 32-bit int, equal to 10^5x actual float threshold value) | value1: MSB in 4 byte signed int, value4: LSB in 4 byte signed int | set_cfg spo2 motionthreshold <value> (value in hex) | 0x51 0x50: 0x50; 0x05 0x05: 0x05; 0x00 0x00: 0x06; A <value1> <value1>: <value1-MSB>; A <value2> <value2>: <value2>; A <value3> <value3>: <value3>; A <value4> <value4>: <value4-LSB>
| AGC Timeout | Read | Customer | Get AGC Timeout (sec) |  | get_cfg spo2 agctimeout | 0x51 0x50: 0x51; 0x05 0x05: 0x05; 0x00 0x00: 0x07; A <value1> <value1>: <value>
| AGC Timeout | Write | Customer | Set AGC Timeout (sec) |  | set_cfg spo2 agctimeout <value> (value in hex) | 0x51 0x50: 0x50; 0x05 0x05: 0x05; 0x00 0x00: 0x07; A <value1> <value1>: <value>
| WSPO2 Timeout | Read | Customer | Get WSPO2 Algorithm Timeout (sec) |  | get_cfg spo2 timeout | 0x51 0x50: 0x51; 0x05 0x05: 0x05; 0x00 0x00: 0x08; A <value1> <value1>: <value>
| WSPO2 Timeout | Write | Customer | Set WSPO2 Algorithm Timeout (sec) |  | set_cfg spo2 timeout <value> (value in hex) | 0x51 0x50: 0x50; 0x05 0x05: 0x05; 0x00 0x00: 0x08; A <value1> <value1>: <value>
| PD Configuration | Read | Customer | Get PD configuration(source of PPG signal) | 1: PD1, 2:PD2, 3: PD1&2 | get_cfg spo2 pdconfig | 0x51 0x50: 0x51; 0x05 0x05: 0x05; 0x00 0x00: 0x09; A <value1> <value1>: <value>
| PD Configuration | Write | Customer | Set PD Configuration(source of PPG signal) | 1: PD1, 2:PD2, 3: PD1&2 | set_cfg spo2 pdconfig <value> | 0x51 0x50: 0x50; 0x05 0x05: 0x05; 0x00 0x00: 0x09; A <value1> <value1>: <value>
Wearable Algo Suite (WHRM+WSPO2)
[10 empty] | A |  |  |  | B |  |  |  | C
| SpO2 Calibration Coefficients | Read | Customer | Get SpO2 coeff values(signed 32-bit int equal to 10^5 x measured float calibration coefficient) | Coefficients A=[value1 ¦ value2 ¦ value3 ¦ value4], B=value[5..8] C=value[9..12] | get_cfg wearablesuite spo2cal | 0x51 | 0x07 | 0x00 | <value1> | <value2> | <value3> | <value4> | <value5> | <value6> | <value7> | <value8> | <value9> | <value10> | <value11> | <value12>
| SpO2 Calibration Coefficients | Write | Customer | Set SpO2 coeff values(signed 32-bit int equal to 10^5 x measured float calibration coefficient) | Coefficients A=[value1 ¦ value2 ¦ value3 ¦ value4], B=value[5..8] C=value[9..12] | set_cfg wearablesuite spo2cal <value=A> <value=B> <value=C> (all values in hex) | 0x50 | 0x07 | 0x00 | <value1> | <value2> | <value3> | <value4> | <value5> | <value6> | <value7> | <value8> | <value9> | <value10> | <value11> | <value12>
| SpO2 Motion Detection Period | Read | Customer | Get Motion Detection Period (unsigned 16-bit int), Seconds |  | get_cfg wearablesuite spo2motionperiod | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x01; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| SpO2 Motion Detection Period | Write | Customer | Set Motion Detection Period (unsigned 16-bit int), Seconds |  | set_cfg wearablesuite spo2motionperiod <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x01; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| SpO2 Motion Detection Threshold | Read | Customer | Get Motion Detection Threshold (signed 32-bit int, equal to 10^5x actual float threshold value) | value1: MSB in 4 byte signed int, value4: LSB in 4 byte signed int | get_cfg wearablesuite spo2motionthreshold | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x02; A <value1> <value1>: <value1 -MSB>; A <value2> <value2>: <value2>; A <value3> <value3>: <value3>; A <value4> <value4>: <value4-LSB>
| SpO2 Motion Detection Threshold | Write | Customer | Get Motion Detection Threshold(signed 32-bit int, equal to 10^5x actual float threshold value) | value1: MSB in 4 byte signed int, value4: LSB in 4 byte signed int | set_cfgwearablesuite spo2motionthreshold <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x02; A <value1> <value1>: <value1-MSB>; A <value2> <value2>: <value2>; A <value3> <value3>: <value3>; A <value4> <value4>: <value4-LSB>
| SPO2 AFE Control Timeout | Read | Customer | Get WSPO2 AGC Timeout (sec) |  | get_cfg wearablesuite spo2afecontrltimeout | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x03; A <value1> <value1>: <value>
| SPO2 AFE Control Timeout | Write | Customer | Set WSPO2 AGC Timeout (sec) |  | set_cfg wearablesuite spo2afecontrltimeout <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x03; A <value1> <value1>: <value>
| SPO2 Timeout | Read | Customer | Get WSPO2 Algorithm Timeout (sec) |  | get_cfg wearablesuite spo2timeout | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x04; A <value1> <value1>: <value>
| SPO2 Timeout | Write | Customer | Set WSPO2 Algorithm Timeout (sec) |  | set_cfg wearablesuite spo2timeout <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x04; A <value1> <value1>: <value>
| Initial Heart Rate | Write | Internal | Set the initial HR value | Value is integer heart rate | set_cfg wearablesuite initialhr <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x05; A <value1> <value1>: <value>
| Initial Heart Rate | Read | Internal | Get the initial HR value | Value is integer heart rate | get_cfg wearablesuite initialhr | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x05; A <value1> <value1>: <value>
| Default Person Height | Write | Customer | Set the default height (in cm) | Height = 256*<value_MSB>+<value_LSB> cm | set_cfg wearablesuite personheight <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x06; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| Default Person Height | Read | Customer | Get the default height (in cm) | Height = 256*<value_MSB>+<value_LSB> cm | get_cfg wearablesuite personheight | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x06; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| Default Person Weight | Write | Customer | Set the default weight (in kg) | Weight = 256*<value_MSB>+<value_LSB> kg | set_cfg wearablesuite personweight <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x07; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| Default Person Weight | Read | Customer | Get the default weight (in kg) | Weight = 256*<value_MSB>+<value_LSB> kg | get_cfg wearablesuite personweight | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x07; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| Default Person Age | Write | Customer | Set the default age (in years) | Age = <value> years | set_cfg wearablesuite personage <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x08; A <value1> <value1>: <value>
| Default Person Age | Read | Customer | Get the default age (in years) | Age = <value> years | get_cfg wearablesuite personage | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x08; A <value1> <value1>: <value>
| Default Person Gender | Write | Customer | Set the default gender | 0: Male, 1: Female | set_cfg wearablesuite persongender <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x09; A <value1> <value1>: <value>
| Default Person Gender | Read | Customer | Get the default gender | 0: Male, 1: Female | get_cfg wearablesuite persongender | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x09; A <value1> <value1>: <value>
| Algorithm run mode | Write | Customer | Set the algorithm run mode | 0: Continuous HRM + Continuos SPO2 1: Continuous HRM + Oneshot SPO2 2: Continuous HRM 3: Sampled HRM 4: Sampled HRM + Oneshot SPO2 5: Activity Tracking ONLY 6: SPO2 calibration | set_cfg wearablesuite algomode <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x0A; A <value1> <value1>: <value>
| Algorithm run mode | Read | Customer | Get the algorithm run mode |  | get_cfg wearablesuite algomode | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x0A; A <value1> <value1>: <value>
| AEC Algorithm Enable | Write | Customer | Set AEC Mode (Enable=1 or Disable=0) |  | set_cfg wearablesuite aecenable <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x0B; A <value1> <value1>: <value>
| AEC Algorithm Enable | Read | Customer | Get AEC Mode (Enable=1 or Disable=0) |  | get_cfg wearablesuite aecenable | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x0B; A <value1> <value1>: <value>
| SCD Algorithm Enable | Write | Customer | Set SCD Mode (Enable=1 or Disable=0) |  | set_cfg wearablesuite scdenable <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0X0C; A <value1> <value1>: <value>
| SCD Algorithm Enable | Read | Customer | Get SCD Mode (Enable=1 or Disable=0) |  | get_cfg wearablesuite scdenable | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0X0C; A <value1> <value1>: <value>
| Adjust Target PD Current Period | Write | Customer | Set the period to update the target PD current with the AEC formula (second) | unsigned 16-bit int | set_cfg wearablesuite targetpdperiod <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0X0D; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| Adjust Target PD Current Period | Read | Customer | Get the period to update the target PD current with the AEC formula (second) | unsigned 16-bit int | get_cfg wearablesuite targetpdperiod | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0X0D; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| Motion Magnitude Threshold | Write | Customer | Set the motion magnitude threshold for Motion Detector [in mili-g] | unsigned 16-bit int | set_cfg wearablesuite motionthreshold <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0X0E; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| Motion Magnitude Threshold | Read | Customer | Get the motion magnitude threshold for Motion Detector [in mili-g] | unsigned 16-bit int | get_cfg wearablesuite motionthreshold | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0X0E; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| Min PD Current | Write | Customer | Set the minimum PD current (in 0.1uA) | unsigned 16-bit int | set_cfg wearablesuite minpdcurrent <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0X0F; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| Min PD Current | Read | Customer | Get the minimum PD current (in 0.1uA) | unsigned 16-bit int | get_cfg wearablesuite minpdcurrent | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0X0F; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| Initial PD Current | Write | Customer | Set the initial PD current (in 0.1uA) | unsigned 16-bit int | set_cfg wearablesuite initpdcurrent <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0X10; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| Initial PD Current | Read | Customer | Get the initial PD current (in 0.1uA) | unsigned 16-bit int | get_cfg wearablesuite initpdcurrent | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0X10; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| Target PD Current | Write | Customer | Set the target PD current (in 0.1uA), works only if Auto Target PD Current Calculation is Enabled | unsigned 16-bit int | set_cfg wearablesuite targetpdcurrent <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0X11; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| Target PD Current | Read | Customer | Get the target PD current (in 0.1uA) | unsigned 16-bit int | get_cfg wearablesuite targetpdcurrent | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0X11; A <value1> <value1>: <value_MSB>; A <value2> <value2>: <value_LSB>
| Auto Target PD Current Calculation Enable | Write | Customer | Target PD current is calculated automatically if this flag is set (AEC functionality). Otherwise, value of Target PD Current is used (AGC functionality) |  | set_cfg wearablesuite autopdcurrentenable <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x12; A <value1> <value1>: <value>
| Auto Target PD Current Calculation Enable | Read | Customer | Get mode of automatic calculation of target PD current |  | get_cfg wearablesuite autopdcurrentenable | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x12; A <value1> <value1>: <value>
| Min Integration Time Option | Write | Customer | Set minimum integration time option | Integration Time Options: 0: 14.8 usec (default) 1: 29.4 usec 2: 58.7 usec 3: 117.3 usec | set_cfg wearablesuite mintintoption <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x13; A <value1> <value1>: <value>
| Min Integration Time Option | Read | Customer | Get minimum integration time option |  | get_cfg wearablesuite mintintoption | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x13; A <value1> <value1>: <value>
| Min Freq Sampling/Average Option | Write | Customer | Set minimum sampling rate/averaging option | Sampling rate and average options: 0: 25 sps, avg=1 (default) 1: 50 sps, avg=2 2: 100 sps, avg=4 3: 200 sps, avg=8 4: 400 sps, avg=16 | set_cfg wearablesuite minfsmpoption <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x14; A <value1> <value1>: <value>
| Min Freq Sampling/Average Option | Read | Customer | Get maximum sampling rate/averaging option |  | get_cfg wearablesuite minfsmpoption | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x14; A <value1> <value1>: <value>
| Max Integration Time Option | Write | Customer | Set maximum integration time option | Integration Time Options: 0: 14.8 usec 1: 29.4 usec 2: 58.7 usec 3: 117.3 usec (default) | set_cfg wearablesuite maxtintoption <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x15; A <value1> <value1>: <value>
| Max Integration Time Option | Read | Customer | Get maximum integration time option |  | get_cfg wearablesuite maxtintoption | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x15; A <value1> <value1>: <value>
| Max Freq Sampling/Average Option | Write | Customer | Set maximum sampling rate/averaging option | Sampling rate and average options: 0: 25 sps, avg=1 1: 50 sps, avg=2 2: 100 sps, avg=4 3: 200 sps, avg=8 4: 400 sps, avg=16 (default) | set_cfg wearablesuite maxfsmpoption <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x16; A <value1> <value1>: <value>
| Max Freq Sampling/Average Option | Read | Customer | Get maximum sampling rate/averaging option |  | get_cfg wearablesuite maxfsmpoption | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x16; A <value1> <value1>: <value>
| WHRM LED PD Configuration | Write | Customer | Set which SLOTs and PDs are used for input 1 and 2 of WHRM | Value1 (8bit): Input 1, Value 2(8bit): Input 2 where in each value: 4-bit MSB is SLOT # and 4-bit LSB is PD # as: SLOT #: 0-5 for SLOT1-SLOT6, 7: SLOT not used PD #: 0-1 for PD1-PD2, 3: PD not used OS58/OB12 only support SLOT1-3 | set_cfg wearablesuite whrmledpdconfig <value> | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x17; A <value1> <value1>: <value1>; A <value2> <value2>: <value2>
| WHRM LED PD Configuration | Read | Customer | Get which SLOTs and PDs are used for input 1 and 2 of WHRM |  | get_cfg wearablesuite whrmledpdconfig | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x17; A <value1> <value1>: <value1>; A <value2> <value2>: <value2>
| SPO2 LED PD Configuration | Write | Customer | Set which SLOTs and PDs are used for IR and Red input of spo2 | Value1(8bit): IR Input, Value 2(8bit):Red Input where in each value: 4-bit MSB is SLOT # and 4-bit LSB is PD # as: SLOT #: 0-5 for SLOT1-SLOT6, 7: SLOT not used PD #: 0-1 for PD1-PD2, 3: PD not used OS58/OB12 only support SLOT1-3 | set_cfg wearablesuite spo2ledpdconfig <value> | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x18; A <value1> <value1>: <value1>; A <value2> <value2>: <value2>
| SPO2 LED PD Configuration | Read | Customer | Get which SLOTs and PDs are used for IR and Red input of spo3 |  | get_cfg wearablesuite spo2ledpdconfig | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x18; A <value1> <value1>: <value1>; A <value2> <value2>: <value2>
| LED firing sequence |  |  | Set which SLOTs are used for firing of which LED • set_cfg wearablesuite ledfiringconfig <24-bit Value> where: Value(24-bit) = Value1(4bit) ¦ Value2(4bit)¦…¦Value6(4bit) for SLOT1 to SLOT6 • Every LED could only be fired in 1 SLOT (eg. if one SLOT is chosen to LED1 and LED2 FIRING, no other SLOT could be chosen to LED1 FIRING or LED2 FIRING). • Multiple SLOTs could be chosen to be NONE_FIRING OS58/OB12 only support SLOT1-3, zero for SLOT4-6 | Firing of SLOTS: 0: NONE_FIRING 1: LED1 FIRING 2: LED2 FIRING 3: LED3 FIRING 4: LED4 FIRING 5: LED5 FIRING 6: LED6 FIRING 7: LED1 and LED2 FIRING 8: LED1 and LED3 FIRING 9: LED2 and LED3 FIRING | set_cfg wearablesuite ledfiringconfig <value> | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x19; A <value1> <value1>: <value1¦value2>; A <value2> <value2>: <value3¦value4>; A <value3> <value3>: <value5¦value6>
| LED firing sequence |  |  | Get which SLOTs are used for firing of which LED |  | get_cfg wearablesuite ledfiringconfig | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x19; A <value1> <value1>: <value1¦value2>; A <value2> <value2>: <value3¦value4>; A <value3> <value3>: <value5¦value6>
| Initial Integration Time Option | Write | Customer | Set initial integration time option | Integration Time Options: 0: 14.8 usec (default) 1: 29.4 usec 2: 58.7 usec 3: 117.3 usec | set_cfg wearablesuite inittintoption <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x1A; A <value1> <value1>: <value>
| Initial Integration Time Option | Read | Customer | Get initial integration time option |  | get_cfg wearablesuite inittintoption | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x1A; A <value1> <value1>: <value>
| Initial Freq Sampling/Average Option | Write | Customer | Set initial sampling rate/averaging option | Sampling rate and average options: 0: 25 sps, avg=1 1: 50 sps, avg=2 2: 100 sps, avg=4 (default) 3: 200 sps, avg=8 4: 400 sps, avg=16 | set_cfg wearablesuite initfsmpoption <value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x1B; A <value1> <value1>: <value>
| Initial Freq Sampling/Average Option | Read | Customer | Get initial sampling rate/averaging option |  | get_cfg wearablesuite initfsmpoption | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x1B; A <value1> <value1>: <value>
| Initial Freq Sampling/Average Option | Write | Customer | Set initial PI threshold fro SpO2 | 1000x PI threshold value. Min 1 max 100 | set_cfg wearablesuite pithreshold<value> (value in hex) | 0x51 0x50: 0x50; 0x07 0x07: 0x07; 0x00 0x00: 0x1D; A <value1> <value1>: <value>
| Initial Freq Sampling/Average Option | Read | Customer | Get initial PI threshold fro SpO2 | 1000x PI threshold value reported. Min 1 max 100 | get_cfg wearablesuite pithreshold | 0x51 0x50: 0x51; 0x07 0x07: 0x07; 0x00 0x00: 0x1D; A <value1> <value1>: <value>
Example: The calibration coefficients as is (i.e. without any cover glass) should be: ,,
Example: The calibration coefficients as is (i.e. without any cover glass) should be: A= "-1666666", B= "833333", C= "10000000", 𝑆𝑝𝑂_2=𝐴∗1𝑒−5∗𝑅^2+𝐵∗1𝑒−5∗𝑅+𝐶∗1𝑒−5
Example: Example: The calibration coefficients should be: ,,
Example: Example: The calibration coefficients should be: A= 159584, B= −3465966, C= 11268987, 𝑆𝑝𝑂_2=𝐴∗1𝑒−5∗𝑅^2+𝐵∗1𝑒−5∗𝑅+𝐶∗1𝑒−5
Note on C88: David Jung: Not used and not working

## Data Output Format - Sensors
Data Output Format
Every sensor and algorithm has a pre-defined output format, defined below
When multiple sensors are enabled, the data from each is concatenated, in increasing order of <sensor index>
When multiple algorithms are enabled, the data from each is concatenated, in increasing order of <algo index>
When both sensors and algorithms are enabled, the data from each is concatenated, with all the sensor data first, then all the algorithm data
Unless specified otherwise, data is Big Endian
Reading data
1) Enable sensor(s)
| Write: | 0x44 | <sensor index> | <mode>
Wait for CMD_DELAY ms
| Read: | <cmd status>
2) Wait for interrupt
| Write: | 0x00 | 0x00
Wait for CMD_DELAY ms
| Read: | <cmd status> | <status reg value>
3) Verify DATA_READY_INT is set, and FIFO_OUT_OVF_INT is not set
4) Read number of available samples in FIFO
| Write: | 0x12 | 0x00
Wait for CMD_DELAY ms
| Read: | <cmd status> | <num samples available>
5) Read data from FIFO
| Write: | 0x12 | 0x01
Wait for CMD_DELAY ms
| Read: | <cmd status> | <sample 1>… | <sample N>
Output Mode | [7 empty] | Sensors
The Output Mode setting (Family Byte 0x10, Command Index 0x00) has the following settings:
Bit 7 | Bit 6 | Bit 5 | Bit 4 | Bit 3 | Bit 2 | Bit 1 | Bit 0 | Note: Data output mode depends on what mode the sensor is set to by Family Byte 0x44
Reserved |  |  |  |  | SC_EN | DATA_TYPE [1:0] |  | Mode 0 is always "disable" mode. No data is output
[10 empty] | Mode 1 |  |  | Mode 2
DATA_TYPE: | b'00 | Pause Mode (No data) | [5 empty] | Index | Part Name(s) | Data Item | Size (Bytes) | Description | Data Item | Size (Bytes) | Description
| b'01 | Sensor data only | [5 empty] | 0 | MAX86140/41 | Seq1Data | 3 | Data type depends on LEDC1 value
| b'02 | Algorithm data only | [7 empty] | Seq2Data | 3 | Data type depends on LEDC2 value
| b'03 | Sensor + Algorithm data | [7 empty] | Seq3Data | 3 | Data type depends on LEDC3 value
[10 empty] | Seq4Data | 3 | Data type depends on LEDC4 value
SC_EN | b'0 | No Sample Count | [7 empty] | Seq5Data | 3 | Data type depends on LEDC5 value
| b'1 | The first byte of the data output is a sample counter which increments | [7 empty] | Seq6Data | 3 | Data type depends on LEDC6 value
by 1 for each sample and wraps back to 0 after sample 255.
[8 empty] | 1 | MAX30205 | Temperature | 2 | LSB: 0.00390625°C
[8 empty] | 2 | MAX30001 | ECG | 3
[10 empty] | R-to-R | 3
[10 empty] | BIOZ | 3
[10 empty] | PACE | 3
[8 empty] | 3 | MAX30101 | Slot1Data | 3 | Data type depends on LED1 value | UV | 2 | Instantaneous UV data
[9 empty] | MAX86100 | Slot2Data | 3 | Data type depends on LED2 value | UV_ACC | 3 | Accumulated UV data
[9 empty] | MAX86907 | Slot3Data | 3 | Data type depends on LED3 value
[9 empty] | … | Slot4Data | 3 | Data type depends on LED4 value
[8 empty] | 4 | Generic Accel | accelX | 2 | 2's compliment. LSB = 0.001g
[10 empty] | accelY | 2 | 2's compliment. LSB = 0.001g
[10 empty] | accelZ | 2 | 2's compliment. LSB = 0.001g
[8 empty] | 7 | AlgoHub | WHRM Op Mode | 1 | Current Operation Mode: 0: Continuous HRM and Continuous Spo2 1: Continuous HRM and One-shot Spo2 2: Continuous HRM 3: Sampled HRM 4: Sampled HRM and One-shot Spo2 5: Activity tracking 6: SpO2 calibration
[10 empty] | HR | 2 | 10x heart rate
[10 empty] | HR Confidence | 1 | Calculated confidence level in %
[10 empty] | RR | 2 | 10x RR - inter-beat interval in ms
[10 empty] | RR Confidence | 1 | Calculated confidence level in %
[10 empty] | Activity class | 1 | Activity class: 0: Rest 1: Other 2: Walk 3: Run 4: Bike 5: Rhythmic
[10 empty] | R | 2 | 10x calculated R value
[10 empty] | SpO2 Confidence | 1 | Calculated confidence level in %
[10 empty] | SpO2 | 2 | 10x SpO2 %
[10 empty] | SpO2 % Complete | 1 | Bit 7 : Spo2 output valid flag Bits 6-0: Calculation progress in % (only in one-shot mode of algorithm)
[10 empty] | SpO2 Low signal quality flag | 1 | Shows low quality of PPG signal: 0: good quality 1: low quality
[10 empty] | SpO2 Motion flag | 1 | Shows excessive motion: 0: no motion 1: excessive motion
[10 empty] | SpO2 Low Pi flag | 1 | Shows low perfusion index (PI) of PPG signal: 0: normal PI 1: low PI
[10 empty] | SpO2 Unreliable R flag | 1 | Shows reliability of R: 0: reliable 1: unreliable
[10 empty] | SpO2 state | 1 | Reported status of Spo2 algorithm: 0: LED adjustment 1: Computation 2: Success 3: Timeout
[10 empty] | SCD state | 1 | Skin Contact state: 0: Undetected 1: Off Skin 2: On some subject 3: On Skin
[10 empty] | SpO2 orientation flag | 1 | 0: correct wrist orientation 1: wrong wrist orientation
[10 empty] | IBI Offset | 1 | Num samples from the previous sample IBI is calculated
[10 empty] | Reserved | 3 | Reserved for future use

## Data Output Format - Algorithms
Data Output Format
Every sensor and algorithm has a pre-defined output format, defined below
When multiple sensors are enabled, the data from each is concatenated, in increasing order of <sensor index>
When multiple algorithms are enabled, the data from each is concatenated, in increasing order of <algo index>
When both sensors and algorithms are enabled, the data from each is concatenated, with all the sensor data first, then all the algorithm data
Unless specified otherwise, data is Big Endian
Reading data
1) Wait for interrupt, then read status
| Write: | 0x00 | 0x00
Wait for CMD_DELAY ms
| Read: | <cmd status> | <status reg value>
2) Verify DATA_READY_INT is set, and FIFO_OVF_INT is not set
3) Read number of available samples in FIFO
| Write: | 0x12 | 0x00
Wait for CMD_DELAY ms
| Read: | <cmd status> | <num samples available>
4) Read data from FIFO
| Write: | 0x12 | 0x01
Wait for CMD_DELAY ms
| Read: | <cmd status> | <sample 1>… | <sample N>
Output Mode | [7 empty] | Algorithms
The Output Mode setting (Family Byte 0x10, Command Index 0x00) has the following settings: | [7 empty] | Note: Data output mode depends on what mode the algorithm is set to by Family Byte 0x44
Bit 7 | Bit 6 | Bit 5 | Bit 4 | Bit 3 | Bit 2 | Bit 1 | Bit 0
Reserved |  |  |  |  | SC_EN | DATA_TYPE [1:0] |  |  |  | Mode 1 |  |  | Mode 2 |  |  | Mode 3
[8 empty] | Index | Algo | Data Item | Size (Bytes) | Description | Data Item | Size (Bytes) | Description | Data Item | Size (Bytes) | Description
DATA_TYPE: | b'00 | Pause Mode (No data) | [5 empty] | 0 | AGC | N/A | 0 | No output from algorithm
| b'01 | Sensor data only | [5 empty] | 1 | AEC | N/A | 0 | No output from algorithm
| b'02 | Algorithm data only
| b'03 | Sensor + Algorithm data | [5 empty] | 2 | MaximFast10. | HR | 2 | Heart Rate (bpm). LSB = 0.1 bpm | HR | 2 | Heart Rate (bpm). LSB = 0.1 bpm
[10 empty] | HR Confidence | 1 | Confidence level (0 - 100%). LSB = 1% | HR Confidence | 1 | Confidence level (0 - 100%). LSB = 1%
SC_EN | b'0 | No Sample Count | [7 empty] | SPO2 | 2 | SPO2 value (0 - 100%). LSB = 0.1% | SPO2 | 2 | SPO2 value (0 - 100%). LSB = 0.1%
| b'1 | The first byte of the data output is a sample counter which increments | [7 empty] | Algorithm State | 1 | Algorithm current state: 0: No object is detected 1: Something is on sensor 2: Another object is detected 3: Finger is detected | Algorithm State | 1 | Algorithm current state: 0: No object is detected 1: Something is on sensor 2: Another object is detected 3: Finger is detected
|  | by 1 for each sample and wraps back to 0 after sample 255. | [7 empty] | Algorithm Status | 1 | Algorithm current status: 0: Success 1: Not ready -1: Something is on sensor -2: Device excessive motion -3: No object -4: Pressing too hard -5: Object instead of finger -6: Finger excessive motion | R | 2 | R value times 1000
[10 empty] | Interbeat interval | 1 | 1000x IBI value in msec | Algorithm Status | 1 | Algorithm current status: 0: Success 1: Not ready -1: Something is on sensor -2: Device excessive motion -3: No object -4: Pressing too hard -5: Object instead of finger -6: Finger excessive motion
[13 empty] | Motion | 1 | Shows excessive motion: 0: No motion 1: Excessive motion
[13 empty] | Perfusion | 2 | 10x perfusion value
[13 empty] | Interbeat interval | 1 | 1000x IBI value in msec
[8 empty] | 2 | HRM | HR | 2 | Heart Rate (bpm). LSB = 0.1 bpm | Walking Steps | 3 | Total steps since reset. LSB = 1 step
[10 empty] | HR Confidence | 1 | Confidence level (0 - 100%). LSB = 1% | Running Steps | 3 | Total steps since reset. LSB = 1 step
[10 empty] | SPO2 | 2 | SPO2 value (0 - 100%). LSB = 1% | Kcal Expenditure | 3 | Kcal expenditure. LSB = 0.1Kcal
[10 empty] | Status | 1 | Status Codes | Step Cadence | 2 | Steps per minute. LSB = 0.01 spm
[13 empty] | Activity Type | 1 | 0: Rest Activity; 1: Other Non-Rythmic Activity; 2: Walking; 3: Running; 4: Biking; 5: Other Rythmic Activity
[13 empty] | HP Accel | 2 | High-pass filtered norm of acceleration. 2's compliment. LSB = 0.1g
[13 empty] | HP+LP Accel | 2 | High-pass + low- pass filtered norm of acceleration. 2's compliment. LSB = 0.1g
[13 empty] | Motion Freq | 1 | Frequency of motion (radians per sample). LSB = 0.01rps.
[13 empty] | Motion Freq Confidence | 1 | Confidence level of Motion Frequency (0-100%). LSB = 1%.
[13 empty] | Prior HR | 2 | Prior of HR estimated from accelerometer. LSB = 0.1bpm
[13 empty] | HR | 2 | Heart Rate (bpm). LSB = 0.1 bpm
[13 empty] | HR Confidence | 1 | HR Confidence level (0 - 100%). LSB = 1%
[13 empty] | R-to-R | 2 | Inter-beat interval (ms). LSB = 1ms
[13 empty] | R-to-R Confidence | 1 | RR Confidence level (0 - 100%). LSB = 1%
[13 empty] | Sampled Mode Reliable | 1 | 0: Not reliable, all other values: reliable
[8 empty] | 2 | WHRM | HR | 2 | Heart Rate (bpm). LSB = 0.1 bpm | HR | 2 | Heart Rate (bpm). LSB = 0.1 bpm
[10 empty] | HR Confidence | 1 | Confidence level (0 - 100%). LSB = 1% | HR Confidence | 1 | Confidence level (0 - 100%). LSB = 1%
[10 empty] | RR | 2 | RR value. LSB = 0.1 | RR | 2 | RR value. LSB = 0.1
[10 empty] | Activity Class | 1 | 0: Rest; 1: Other Non-Rythmic Activity; 2: Walking; 3: Running; 4: Biking; 5: Other Rythmic Activity | Activity Class | 1 | 0: Rest; 1: Other Non-Rhythmic Activity; 2: Walking; 3: Running; 4: Biking; 5: Other Rhythmic Activity
[13 empty] | RR Confidence Level | 1 | RR Confidence level (0 - 100%). LSB = 1% | Additional fields of extended WHRM report
[13 empty] | Total Walk Steps | 4 | Total Walk Steps (MSB first)
[13 empty] | Total Run Steps | 4 | Total Run Steps (MSB first)
[13 empty] | Total Energy in kcal | 4 | Total Energy in kcal (MSB fisrt)
[13 empty] | Rhythmic Step Cadence | 4 | Rhythmic Step Cadence (MSB first)
[13 empty] | LED Current Adjustment flag | 1 | LED Current Adjustment flag. 0 - No adjustment 1 - Adjustment requested
[13 empty] | Adjusted LED Current value | 2 | Adjusted LED Current in mA. LSB = 0.1 mA
[13 empty] | TINT (Time Integration) Adjustment flag | 1 | TINT (Time Integration) Adjustment flag 0 - No adjustment 1 - Adjustment requested
[13 empty] | Adjusted TINT value | 2 | Adjusted TINT value in us. LSB = 0.1 us
[13 empty] | Sample Rate Adjustment flag | 1 | Sample Rate Adjustment flag 0 - No adjustment 1 - Adjustment requested
[13 empty] | Adjusted Sample Rate | 1 | Adjusted Sample Rate : 25 or 100 Hz
[13 empty] | Adjusted Sample Average | 1 | Adjusted Sample Average: 1 or 4
[13 empty] | AEC state | 1 | AEC state: 3 - Algorithm waiting for adjustment 4 - Algorithm is in AGC mode 5 – AEC internal mode 6 – AEC updates target PD current from default 10mA to min=3mA (configurable).
[13 empty] | High Motion flag | 1 | High Motion flag: 0 - No motion 1 - High motion
[13 empty] | SCD Status | 1 | SCD Status: 0 - On Skin 1- Off Skin
[8 empty] | 3 | ECG | TBD
[8 empty] | 4 | BP | Status | 1 | Status: 0 - No signal 1 - Progress 2 - Success 3 - Bad signal 4 - Motion detected 5 - Failure 6 - Part of calibration done | Status | 1 | Status: 0 - No signal 1 - Progress 2 - Success 3 - Bad signal 4 - Motion detected 5 - Failure 6 - Part of calibration done
[10 empty] | Progress | 1 | Calibration/Estimation progress (0 - 100%) | Progress | 1 | Calibration/Estimation progress (0 - 100%)
[10 empty] | HR | 2 | Heart Rate (bpm). LSB = 0.1 bpm | HR | 2 | Heart Rate (bpm). LSB = 0.1 bpm
[10 empty] | SYS BP | 1 | Systolic BP value. Only valid when Progress = 100% | SYS BP | 1 | Systolic BP value. Only valid when Progress = 100%
[10 empty] | DIA BP | 1 | Diastolic BP value. Only valid when Progress = 100% | DIA BP | 1 | Diastolic BP value. Only valid when Progress = 100%
[10 empty] | SpO2 | 2 | SpO2 value (70 - 100%). LSB = 0.1% | SpO2 | 2 | SpO2 value (70 - 100%). LSB = 0.1%
[10 empty] | R | 2 | R value. LSB = 0.1% | R | 2 | R value. LSB = 0.1%
[10 empty] | Pulse Flag | 1 | 0 – not R peak 1 - R peak detected flag | Pulse Flag | 1 | 0 – not R peak 1 - R peak detected flag
[10 empty] | SpO2 Confidence | 1 | SpO2 confidence level. LSB=1% | SpO2 Confidence | 1 | SpO2 confidence level. LSB=1%
[10 empty] | Pulse Flag | 1 | Peak detected flag | Pulse Flag | 1 | Peak detected flag
[10 empty] | IBI | 2 | Inter-beat interval, pulse interval. (msec) | IBI | 2 | Inter-beat interval, pulse interval. (msec)
[10 empty] | SpO2 Confidence | 1 | SpO2 confidence level. LSB=1% | SpO2 Confidence | 1 | SpO2 confidence level. LSB=1%
[8 empty] | 5 | WSpO2 | R | 2 | SpO2 R value. LSB = 0.1
[10 empty] | SpO2 Confidence | 1 | Spo2 Confidence level (0 - 100%). LSB = 1%
[10 empty] | SpO2 | 2 | SPO2 value (0 - 100%). LSB = 0.1%
[10 empty] | PercentComplete | 1 | SpO2 calculation progress (%) - only in oneshot mode
[10 empty] | LowSNR flag | 1 | Low SNR: 0 -Not detected 1 -Detected
[10 empty] | Motion flag | 1 | High motion: 0 -Not detected 1 - Detected
[10 empty] | State | 1 | Algorithm state: 0 - LED Adjustment 1 - Computation in progress 2 - Successful Termination 3 - Timeout
[8 empty] | 7 | Wearable Suite (WHRM+WSPO2) | Op Mode | 1 | Current Operation Mode: 0: Continuous HRM and Continuous Spo2 1: Continuous HRM and One-shot Spo2 2: Continuous HRM 3: Sampled HRM 4: Sampled HRM and One-shot Spo2 5: Activity tracking 6: SpO2 calibration | Op Mode | 1 | Current Operation Mode: 0: Continuous HRM and Continuous Spo2 1: Continuous HRM and One-shot Spo2 2: Continuous HRM 3: Sampled HRM 4: Sampled HRM and One-shot Spo2 5: Activity tracking 6: SpO2 calibration | SCD state | 1 | Skin contact state 0 = Unidentified 1 = Off Skin 2 = On Object 3 = On Skin
[10 empty] | HR | 2 | 10x heart rate | HR | 2 | 10x heart rate
[10 empty] | HR Confidence | 1 | Calculated confidence level in % | HR Confidence | 1 | Calculated confidence level in %
[10 empty] | RR | 2 | 10x RR - inter-beat interval in ms | RR | 2 | 10x RR - inter-beat interval in ms
[10 empty] | RR Confidence | 1 | Calculated confidence level in % | RR Confidence | 1 | Calculated confidence level in %
[10 empty] | Activity class | 1 | Activity class: 0: Rest 1: Other 2: Walk 3: Run 4: Bike 5: Rhythmic | Activity class | 1 | Activity class: 0: Rest 1: Other 2: Walk 3: Run 4: Bike 5: Rhythmic
[10 empty] | R | 2 | 10x calculated R value | Total Walk Steps | 4 | Total number of walking steps since last reset
[10 empty] | SpO2 Confidence | 1 | Calculated confidence level in % | Total Run Steps | 4 | Total number of running steps since last reset
[10 empty] | SpO2 | 2 | 10x SpO2 % | Total Energy exp in kcal | 4 | Total energy expenditure since last reset in kcal
[10 empty] | SpO2 % Complete | 1 | Bit 7 : Spo2 output valid flag Bits 6-0: Calculation progress in % (only in one-shot mode of algorithm) | Total amr in kcal | 4 | Total active energy expenditure since last reset in kcal
[10 empty] | SpO2 Low signal quality flag | 1 | Shows low quality of PPG signal: 0: good quality 1: low quality | Is LED current adjustment requested in first time slot | 1 | Flag to notify if LED current adjustment is requested or not in First Time Slot
[10 empty] | SpO2 Motion flag | 1 | Shows excessive motion: 0: no motion 1: excessive motion | Adjusted LED current in first time slot | 2 | Value of the adjusted LED current in first time slot, valid only if “Is LED current adjustment requested in first time slot” flag is true
[10 empty] | SpO2 Low Pi flag | 1 | Shows low perfusion index (PI) of PPG signal: 0: normal PI 1: low PI | Is LED current adjustment requested in second time slot | 1 | Flag to notify if LED current adjustment is requested or not in Second Time Slot
[10 empty] | SpO2 Unreliable R flag | 1 | Shows reliability of R: 0: reliable 1: unreliable | Adjusted LED current in second time slot | 2 | Value of the adjusted LED current in second time slot, valid only if “Is LED current adjustment requested in second time slot” flag is true
[10 empty] | SpO2 state | 1 | Reported status of Spo2 algorithm: 0: LED adjustment 1: Computation 2: Success 3: Timeout | Is LED current adjustment requested in third time slot | 1 | Flag to notify if LED current adjustment is requested or not in Third Time Slot
[10 empty] | SCD state | 1 | Skin Contact state: 0: Undetected 1: Off Skin 2: On some subject 3: On Skin | Adjusted LED current in third time slot | 2 | Value of the adjusted LED current in third time slot, valid only if “Is LED current adjustment requested in third time slot” flag is true
[10 empty] | SpO2 orientation flag | 1 | 0: correct wrist orientation 1: wrong wrist orientation | Is integration time adjustment requested | 1 | Flag to notify if integration time adjustment is requested or not
[10 empty] | IBI Offset | 1 | Num samples from the previous sample IBI is calculated | Requested integration time | 1 | Value of requested integration time, valid only if “Is integration time adjustment requested” flag is true
[10 empty] | Reserved | 2 | 2 reserved bytes | Is sampling rate adjustment requested | 1 | Flag to notify if sampling rate adjustment is requested or not
[13 empty] | Requested sampling rate | 1 | Value of requested sampling rate, valid only if “Is sampling rate adjustment requested” flag is true
[13 empty] | Requested sampling average | 1 | Sampling average required for the requested sampling rate, valid only if “Is sampling rate adjustment requested” flag is true
[13 empty] | WHRM AFE controller state for HRM channels | 1 | State of the AFE manager (for WHRM channels)
[13 empty] | Is high motion for HRM | 1 | Flag to notify if motion is considered high for heart rate measurement
[13 empty] | SCD state | 1 | Skin Contact state: 0: Undetected 1: Off Skin 2: On some subject 3: On Skin
[13 empty] | R | 2 | 10x calculated R value
[13 empty] | SpO2 Confidence | 1 | Calculated confidence level in %
[13 empty] | SpO2 | 2 | 10x SpO2 %
[13 empty] | SpO2 % Complete | 1 | Bit 7 : Spo2 output valid flag Bits 6-0: Calculation progress in % (only in one-shot mode of algorithm)
[13 empty] | SpO2 status | 1 | Bit7: SpO2 low signal quality flag. Shows the low quality of the PPG signal: 0: Good quality 1: Low quality Bit6: SpO2 motion flag. Shows excessive motion: 0: No motion 1: Excessive motion Bit5: SpO2 low PI flag. Shows the low perfusion index (PI) of the PPG signal: 0: Normal PI 1: Low PI Bit4: SpO2 unreliable R flag. Shows the reliability of R: 0: Reliable 1: Unreliable Bit3: SpO2 orientation flag. Shows how good is wrist orientation for SpO2 measurement. 0: correct 1: not correct Bits 2-0: Reported status of the SpO2 algorithm: 0: LED adjustment 1: Computation 2: Success 3: Timeout
[13 empty] | SpO2 IR PI | 1 | 1000x IR PI value
[13 empty] | SpO2 RED PI | 1 | 1000x RED PI value
[13 empty] | IBI Offset | 1 | Num samples from the previous sample IBI is calculated
[13 empty] | Reserved Bytes | 3 | 3 reserved bytes

## External Sensor Input
External Sensor Input
Sometimes it may be necessary to stream data to the Sensor-Hub from an external sensor
For example, the WHRM algorithm requires accelerometer data, and the Icarus board has an onboard accelerometer (BMI160)
The Sensor-Hub has an onboard FIFO which stores the data and uses it in the order it was received
Multiple external sensors can send data to the Sensor-Hub
Each packet of data sent to the Sensor-Hub contains the data from each sensor, concatenated in the order of increasing <sensor index>
Unless specified otherwise, data is Big Endian
Note: Data Input from an external sensor is not available when using an I2C interface
Setup | [6 empty] | Data Format
1) Select which sensors will send data to the Sensor-Hub | [6 empty] | Mode 0 is always "disable" mode. No data is output
| Write: | 0x44 | <sensor index> | <mode> | <ext_mode> |  |  |  | Mode 1 |  |  | Mode 2
| Wait for CMD_DELAY ms | [5 empty] | Index | Part Name(s) | Data Item | Size (Bytes) | Description | Data Item | Size (Bytes) | Description
| Read: | <cmd status> |  |  |  |  | 0 | MAX86140 | Not Currently Supported
[7 empty] | 1 | MAX30205 | Not Currently Supported
2) (Optional) Check that the Input FIFO sample size of a sensor is the expected value | [6 empty] | 2 | MAX30001 | Not Currently Supported
| The Input FIFO sample size (bytes per sample) is the sum of the size of all data items to be sent from all active external sensors | [5 empty] | 3 | MAX86100 | Not Currently Supported
| For example, if only <sensor index>=4 is enabled (BMI/LIS2DH), then each sample will be 6 bytes. | [6 empty] | MAX86907
…
| Write: | 0x13 | 0x00 | <sensor index>… |  |  | 4 | BMI160 | accelX | 2 | 2's compliment. LSB = 0.001g
| Wait for CMD_DELAY ms | [6 empty] | LIS2DH | accelY | 2 | 2's compliment. LSB = 0.001g
| Read: | <cmd status> | <value> | [5 empty] | accelZ | 2 | 2's compliment. LSB = 0.001g
[7 empty] | 7 | AlgoHub | Green1 Led | 3 | Green1 Led PPG count > 0 |  |  | HR algo channel 1 input
Writing Data | [8 empty] | Green2 Led | 3 | Green2 Led PPG count > 0 |  |  | HR algo channel 2 input . Can be set same value as Green1
After enabling an onboard sensor with the SensorMode command (0x44), you may write new samples from your enabled external sensor | [8 empty] | IR Led | 3 | IR Led PPG count > 0 |  |  | SpO2 IR channel input
to the Sensor-Hub's Input FIFO using the Write FIFO Data command (0x14, 0x00) | [8 empty] | Red Led | 3 | Red Led PPG count > 0 |  |  | SpO2 Red channel input
1) Enable onboard sensor(s) | [8 empty] | led5 | 3 | Reserved Led count > 0 |  |  | Future use, can be set to zero
| Write: | 0x44 | <sensor index> | <mode> |  |  |  |  | led6 | 3 | Reserved Led count > 0 |  |  | Future use, can be set to zero
| Wait for CMD_DELAY ms | [7 empty] | accelX | 2 | 2's compliment. LSB = 0.001g
| Read: | <cmd status> | [6 empty] | accelY | 2 | 2's compliment. LSB = 0.001g
2) Write external sensor data to Input FIFO | [8 empty] | accelZ | 2 | 2's compliment. LSB = 0.001g
| Write: | 0x14 | 0x00 | <sample1> | … | <sampleN>
Wait for CMD_DELAY ms
| Read: | <cmd status>
3) (Optional) Check that the FIFO_IN_OVR_INT bit is not set on the next interrupt
| Write: | 0x00 | 0x00
Wait for CMD_DELAY ms
| Read: | <cmd status> | <status reg value>

## Bootloader
Encryption Type
Bootloader mode is used to transfer and flash application updates | [6 empty] | 0 | Plain text - no decryption needed
[7 empty] | 1 | AES-256
The steps to update an application are as follows:
1) | Enter bootloader mode by setting BOOTLDR bit of Mode register
|  | Write: | 0x01 | 0x00 | 0x08
Wait CMD_DELAY
|  | Read: | <status>
2) | Read platform type
|  | Write: | 0xFF | 0x00
Wait CMD_DELAY
|  | Read: | <status> | <type>
3) | Read bootloader version
|  | Write: | 0x81 | 0x00
Wait CMD_DELAY
|  | Read: | <status> | <major> | <minor> | <patch>
4) | Read page size (must match value in .mbsl header)
|  | Write: | 0x81 | 0x01
Wait CMD_DELAY
|  | Read: | <status> | <page size>
5) | Set IV bytes
|  | Write: | 0x80 | 0x00 | <11 IV bytes>
Wait CMD_DELAY
|  | Read: | <status>
6) | Set AUTH bytes
|  | Write: | 0x80 | 0x01 | <16 AUTH bytes>
Wait CMD_DELAY
|  | Read: | <status>
7) | Set number of pages to be flashed
|  | Write: | 0x80 | 0x02 | <16 AUTH bytes>
Wait CMD_DELAY
|  | Read: | <status>
8) | Erase current application
|  | Write: | 0x80 | 0x03
Wait CMD_DELAY
|  | Read: | <status>
9) | For each page, send data and check status
NOTE: Each page is 8KB, but you do not need to send all 8KB in a single command transaction. You may break it up into multiple Send Page commands.
After each Send Page command, the bootloader will return ERR_BTLDR_MORE_DATA until it has received a full page.
NOTE: Sensor-Hub will expect the same page to be retransmitted until succesful.
|  | Write: | 0x80 | 0x04 | <page data>…
Wait CMD_DELAY
|  | Read: | <status>
10) | Leave bootloader mode
|  | Write: | 0x01 | 0x00
Wait CMD_DELAY
|  | Read: | <status>

## Bootloader Configuration
Data Format
Config Type | Configuration Item | Direction | Access | Description | Data notes | Family Byte | <cmd idx> | <config item index> | <write/read data>…
Save | [6 empty] | 0x00
| Save Settings | Write | Customer | Commit all bootloader configuration changes. This command must be called after changes to the bootloader configuration are complete in order for them to persist across reboots. |  | 0x82 | 0x00
Bootloader Entry | [6 empty] | 0x01
| Enter BL Check | Write | Customer | Configures whether the ME11 will check the state of a GPIO pin to decide whether or not to enter bootloader mode | Default value is 0, meaning the ME11 will always enter the bootloader on startup. If set to 1, ME11 checks the state of the EBL pin before deciding whether to enter bootloader or not. | 0x82 | 0x01 | 0x00 | <value>
| Enter BL Check | Read | Customer | Configures whether the ME11 will check the state of a GPIO pin to decide whether or not to enter bootloader mode |  | 0x83 | 0x01 | 0x00 | <value>
| EBL Pin | Write | Customer | Selects which pin will be used as the EBL pin. Only used if the Enter BL Check item is set to 0. | Sets EBL pin to P<port>.<pin>. Note: for ME11, only port 0 is valid | 0x82 | 0x01 | 0x01 | <port[7:6]><pin[5:0]>
| EBL Pin | Read | Customer | Selects which pin will be used as the EBL pin. Only used if the Enter BL Check item is set to 0. |  | 0x83 | 0x01 | 0x01 | <port[7:6]><pin[5:0]>
| EBL Polarity | Write | Customer | Selects the active state for the EBL Pin | Value of 0 selects active low. ME11 will enter bootloader mode if EBL pin is held low during startup. Value of 1 selects active high. | 0x82 | 0x01 | 0x02 | <value>
| EBL Polarity | Read | Customer | Selects the active state for the EBL Pin |  | 0x83 | 0x01 | 0x02 | <value>
Bootloader Exit | [6 empty] | 0x02
| Exit BL Mode | Write | Customer | Selects how the bootloader decides to jump to the main application | Value of 0: Immediately jump to main application, if present and valid. Value of 1: Wait for a programmable delay, then jump to application if no commands are received in that time, and if valid application is present. This is the default setting. Value of 2: Remain in bootloader until command is received to exit. | 0x82 | 0x02 | 0x00 | <value>
| Exit BL Mode | Read | Customer | Selects how the bootloader decides to jump to the main application |  | 0x83 | 0x02 | 0x00 | <value>
| Exit Timeout | Write | Customer | Sets length of timeout to use when Exit BL Mode is set to 1 | Timeout = 10ms * <value>. Default value is 100 (1 second). Timeout is cancelled if any commands are received during this period. | 0x82 | 0x02 | 0x01 | <value>
| Exit Timeout | Read | Customer | Sets length of timeout to use when Exit BL Mode is set to 1 |  | 0x83 | 0x02 | 0x01 | <value>
Security | [6 empty] | 0x03
| Set Key | Write | Customer | Set the encryption key to be used by the bootloader to decrypt page data | Use Set Key and then Confirm Key to update the encryption key. Upon sending the Save Settings command, the key will be updated and any current application will be erased. | 0x82 | 0x03 | 0x00 | <32 byte key>
| Confirm Key | Write | Customer | Confirm the encryption key to be used |  | 0x82 | 0x03 | 0x01 | <32 byte key>